## Slide 1: A04 The results from KEK E391a Experiment
T. Inagaki
March 7, 2006
The fourth Workshop for
科研費特定領域「質量起源と超対称性の物理の研究」
Grant in Aid for Scientific Research on Priority Areas,
“Mass Origin and Super-symmetry Physics”

## Slide 2: Sincere thanks for the great support from this fund on behalf of E391a collaboration.
High Energy Accelerator Research Organization, KEK, Japan
Joint Institute for Nuclear Research (Dubna), Russia
Department of Physics, Kyoto University, Japan
National Defense Academy of Japan, Japan
Department of Physics, National Taiwan University, Taiwan
Department of Physics, Osaka University, Japan
Department of Physics, Pusan National University, Korea
Research Center for Nuclear Physics, Osaka University, Japan
Faculty of Science and Engineering, Saga University, Japan
Department of Physics, University of Chicago, USA
Department of Physics, Yamagata University, Japan

## Slide 3: Introduction
E391a : Search for KL   decay
  The theoretically clean process
    Determine CKM parameter 
    Sensitive to the new physics due to FCNC
  The first dedicate experiment
    Step-by-step approach for a precise measurement at J-Parc
Data taking
  Run-I : Feb. – July, 2004
  Run-II : Feb. – April, 2005
  Run-III : Oct. – Dec., 2005

## Slide 4: Our method to detect KL  
(along the beam axis)

## Slide 5: Four important tools
Pencil beam
to determine Zvtx and PT .
4π coverage with thick calorimeters
to make a tight veto of additional particles
High vacuum
to reduce background from beam interactions
Calibration in situ
to cancel the effects of various outer conditions.

## Slide 6: The techniques were established (1)
Pencil beam
4 πcoverage with thick calorimeters
Five orders halo reduction by six collimators.
NIM A 545 (2005) 542, NIM A
CsI stacking with gap <0.1mm
New MS-resin extrusion scintillator, New EGP PMT
Several know-how to fabricate large calorimeters with WLSF readout: machining, gluing, reflector, stacking, etc. Two large calorimeters, FB and MB were assembled with <0.1 and <1mm.
CsI: NIM A 545 (2005) 278,
EGP-PMT: NIM A 522 (2004) 477,
FB and MB and MS scintillaor will be soon published.

## Slide 7: The techniques were established (2)
High vacuum
Calibration in situ
Energy and timing responses of all detector were calibrated by using cosmic and punch-through μ in situ.
The accuracies were a few % in energy and <1 ns in time.
To be published soon in NIM A
NIM A 545 (2005) 278.
Vacuum region was divided into two regions by a thin membrane, and they were differentially pumped.
Reached 10-5 Pa with a thin dead material of 20 mg/cm2 in front of the detectors

## Slide 9: Data quality

## Slide 10: 1-week (run-I) final plot

## Slide 11: Main B.G. is related to the membrane (Run-I)

## Slide 12: We reported the result at the KAON2005

## Slide 13: Direct comparison Run-I and Run-II
runII
5evts
1evts
0evts
4evts
With the same data processing and cuts

## Slide 14: Studies for full-data analysis
Energy calibration of CsI, run-by-run
to get good resolutions of Zvtx and PT
Calibration and simulation of timing
to lower the detection threshold with a tight time window and to make the acceptance estimation sure.
Attack the BA (Back Anti): beam-plug counter

## Slide 15: Recalibration of CsI energy using KL→3π0

## Slide 16: Calibration and simulation of timing
TF - TR (ns)
6γsample
4γsample
Back splash
Real additional γ
TF + TR (ns)
: relative with CsI
Recalibration of CsI timing using KL→3π0 improved by 16 %.
Timing simulation like energy is required for setting a tight time window, and then the acceptance loss by veto can be surely estimated.
Time0 calibration, light propagation, time walk corrections, etc over whole runs, which will be implemented in MC, are under going.

## Slide 17: BA
Inefficiency
γEnergy (GeV)
w/o accidental
w accidental
Large masking effect disappeared in Run-2 with shorter pulse width.
We changed BA in the period between Run-2 and Run-3
Run 1

## Slide 18: Expected sensitivity
1-day 1-week Run-I Run-II Run-III
Single Event Sensitivity
G-N Limit
KTeV Limit
(Current Exp. Limit)

## Slide 19: Summary of my talk
E391a could not take data for the KL   decay without the big support from this KAKENHI fund. Thanks again.
Three runs, almost up to the day of the KEK-PS shutdown, were successfully performed, and we redundantly improved the setup in every step, with learning.
What we have learned in E391a would be very valuable in the next experiment at J-Parc.
We exceeded the previous limit by a factor of two through a pilot analysis using a few % sample. It will be soon published.
The full data analysis will finish in one and half years, and we hope our final sensitivity to exceed the GN limit.

## Slide 20: Backups

## Slide 21: Acceptance Loss

## Slide 22: Normalization of KL
3pi0, 2pi0
  Acceptance w/ MC
  N2pi0/N3pi0
  = 1.06
  average: 4.57x108 KL decay
mode | 3pi0 | 2pi0
reconstructed | 1.33x105 | 2.89x103
Acceptance | 1.35x10-3 | 6.99x10-3
Kl decay | 4.69x108 | 4.44x108
3pi0
2pi0

## Slide 23: Single counting rate
R(Hz) = ( hit_count / random_trigger ) / time_window random_trigger : TMON on spill, time_window : 100ns
Run 2 Run 1
For calorimeters >1 MeV >10 MeV >1 MeV >10 MeV FB 13,990.1 5,697.6 11,742.6 4,592.0 MB inner 9,137.0 1,594.2 22,490.8 3,407.7 MB outer 10,966.9 1,857.4 26,256.0 3,262.5 CsI 1,995.1 553.9 9,016.4 3,005.5 KTeV CsI 7,145.0 2,613.2 27,831.4 10,792.9 Sand 119.3 9.2 279.3 22.3 CC02 9,094.2 3,610.7 12,480.0 7,731.6 CC03 9,574.6 3,206.8 19,228.4 17,608.3 CC04 20,792.4 10,345.7 76,466.5 43,797.3 CC05 32,068.3 12,405.1 69,930.5 39,149.4 CC06 69,962.9 16,129.0 132,296.9 52,042.8 CC07 245,892.0 40,076.3 451,782.7 170,061.0 BA q 1,261,800.6 1,207,636.4 2,942,922.8 2,977,089.0 For charged vetos >0.1 MeV >1 MeV >0.1 MeV >1 MeV BCV 7,940.6 2,273.5 8,346.1 6,748.4 Outer CV 3,528.1 1,551.4 10,692.4 4,837.8 Inner CV 9,712.3 3,216.0 59,550.9 22,759.0 CC04 s 9,479.7 7,839.6 39,406.4 35,697.0 CC05 s 14,403.2 10,058.1 29,663.7 23,596.9
BA s 3,728,814.5 1,790,793.9 6,066,799.5 3,029,623.5 >0.01 MeV >0.1 MeV >0.01 MeV >0.1 MeV BHCV 6,897.1 2,142.0 214,785.6 30,568.7