## Slide 1
Poster board
No. P-48
Development of Superconducting Tunnel Junction Photon Detector on SOI Preamplifier Board to Search for Radiative Decays of Cosmic Background Neutrino.
Kota Kasahara(Univ. of Tsukuba, High Energy Physics Lab.)
For Neutrino Decay Collaboration
CMB2013, Jun. 10-14 2013 @ Okinawa Institute of Science and Technology Graduate University(OIST)
Introduction
We have developed a superconducting tunnel junction (STJ) to search for radiative decays of the cosmic background neutrino using cosmic infrared background energy spectrum.
The photon energy of radiative decays of neutrino is about 25 meV(50um) where we assume mass eigenstate ν3 a mass of 50 meV. Requirement for performance of the detector is to detect a single far infrared photon, so we can apply Nb/Al-STJ which we can use as a counter.
However, we still have not measured a single far infrared photon with Nb/Al-STJ. Because the output is too small (about 100 electrons), when a single far infrared photon is absorbed in Nb/Al-STJ.
To satisfy this requirement, we use a low noise preamplifier that can operate at low temperature around 1K (operating temperature of Nb/Al-STJ) to improve a signal-to-noise ratio of STJ. So we develop a Nb/Al-STJ on SOI preamplifier board by processing Nb/Al-STJ on SOI preamplifier board directly.
6. Summary
We have developed of Nb/Al-STJ on SOI wafer and estimated it
In the current status of development of SOI-STJ photon detector…
Connection via OK.
SOIFET has excellent performance below 1K.
Nb/Al-STJ on SOI could operate below 1K.
(To do) Can SOIFET operate as preamplifier??
2. Search for Neutrino Radiative Decay
We knew that the neutrinos have mass respectively from measurement of neutrino oscillation. But the neutrino mass itself has not been measured yet. If we measure photon energy of neutrino radiative decay v3 -> v2 + γ, we can estimate neutrino mass itself with the mass-squares of different generation neutrinos(=). The neutrino lifetime is too long,(1.5 x 1017 year or less in the Left-Right symmetric model) therefore we chose cosmic background neutrino as a neutrino source . If the mass eigenstate ν3 has a mass of 50 meV, the photon energy from neutrino radiative decay is expected 25meV. In the cosmic infrared background(Main background), we need a detector that has 2% energy resolution at 25meV photon. Accordingly, we adopted a detector that consists of a grating (separating energy) and Superconducting Tunnel Junction(photon counting).
(Please see poster No.P46 by Yuji Takeuchi, If you would like to know detail)
3. Superconducting Tunnel Junction [ STJ ]
The Superconducting tunnel junction(STJ) is a Josephson device composed of Superconductor / Insulator / Superconductor.
Fig.2 A survey of the Nb/Al-STJ
Principle of operation
Radiation absorbed in STJ.
Cooper pairs dissolved creating quasi-particle according to absorbed energy.
Observe tunneling current due to quasi-particle through the insulator(applying bias).
 | Si | Nb | Al | Hf
Tc[K] |  | 9.23 | 1.20 | 0.165
Δ[meV] | 1100 | 1.550 | 0.172 | 0.020
Hc[G] |  | 1980 | 105 | 13
Table 1. Transit temperature, Band gap, Critical magnetic field of each material
Nq : Number of Quasi-Particles in STJ
Eγ : Photon Energy
Δ : Energy Gap in superconductor
G : Trapping gain in Al layer(~10)
4. Estimation FD-SOI-CMOS for Our Experiment
In theory, the Nb/Al-STJ can detect a single far infrared photon, but we have not detect it yet due to small changing current(10pA). (Please see poster No. P-47 by Takuya Okudaira, If you would like to know detail).
To detect a single far infrared photon, we need preamplifier that can operate around 1K in the refrigerator.
Firstly, we estimated that SOI(Silicon on Insulator) preamplifier(FD-SOI-CMOS) as it was proved to operate at 4K by a JAXA/KEK group. it can operate at 1.8K but could not satisfy our requirement (10kHz).
Fig.5 The layout of STJTEG1 chip(left), picture and schematic(right).
Gate
Drain
Source
STJ
STJ
We have developed a STJ processed on a SOI preamplifier board to make this detector compact(SOI-STJ).
As implementation phase, we process Nb/Al-STJ on SOI wafer that is processed to have several MOSFET.
In current status of development of SOI-STJ photon detector, we confirm that connection between STJ and SOI with via, Nb/Al-STJ on SOI wafer has excellent performance about as much as the other one processing on Si wafer, and SOI-FET that is processed Nb/Al-STJ could also operate normally at 700mK.
Square is 2.9 mm on a side.
Applied about
150 Gauss to STJ.
We could see a characteristic I-V curve of Josephson device!!!
2mV /DIV.
1 mA /DIV.
2mV /DIV.
1 mA /DIV.
500uV /DIV.
10 nA /DIV.
Fig.6 I-V curve of Nb/Al-STJ on SOI wafer at 700mK.
leak current of Nb/Al-STJ is about 6nA at 0.5mV .
Fig.7 I-V curve of NMOSFET and PMOSFET below 1K and Temperature dependence
We have processed Nb/Al-STJ on SOI wafer, and confirmed that Both Nb/Al-STJ and SOIFET have excellent performance respectively below 1K.
The next step, we should confirm that output of Nb/Al-STJ by incident photon is amplified by SOIFET.
Cosmic infrared background （COBE)
Expected photons from n decay (LR model)
Fig.3 Temperature Dependence of
Nb/Al-STJ Leakage current
The Nb/Al-STJ has leakage current from thermal excitation and processing three-layer structure
imperfectly.
We can operate it at the temperature that leakage current from thermal excitation is suppressed (below 0.9K).
Fig.4 Evaluation of FD-SOI-CMOS as voltage amp at 1.8K
GAIN100 voltage amp
Input 2mV/DIV.
Output 200mV/DIV.
10ms/DIV.
5. Development for SOI-STJ Photon Detector
Fig.1 Expected Eγ Energy Spectrum for m3=50meV, τ~1.5 x 1017year, and requirement of detector.
Neutrino Decay Collaboration , Shin-Hong Kim, Yuji Takeuchi, Kazuki Nagata, Kota Kasahara, Takua Okudaira (University of Tsukuba), Hirokazu Ishino, Atsuko Kibayashi (Okayama University), Satoshi Mima(RIKEN), Takuo Yoshida, Shota Kobayashi, Keisuke Origasa(Fukui University), Yukihiro Kato (Kinki University), Masashi Hazumi, Yasuo Arai (KEK)Erik Ramberg, Fonghee Yoo, Mark Kozlovsky, Paul Rubinov, Dmitri Sergatskov (Fermilab), Soo-Bong Kim(Seoul National University)
2mV /DIV.
50uA /DIV.