## summary
SENSOR TYPE | Axial
SERIAL NUMBER: | A00075
FDV(HPK) | 110
FDV (Tsukuba) | 99.5702
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open

## CV
%NEWTEST
SERIAL NUMBER: | A00075
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Jul/1/2003
PASSED | YES
%Test_Rawdata
FILENAME: | CV_A00075.dat
#CV
TEMPERATURE(C): | 28.7
DEPLETION V | 99.5702
30 | 0.16066
150 | 0.91246
100 | 0.59652
500 | 0.60062
2.0618 | 0.0017879
11.76 | 0.04076
21.5721 | 0.10864
31.3254 | 0.16807
41.0811 | 0.22977
50.8413 | 0.29146
60.64 | 0.35283
70.3963 | 0.41375
80.1837 | 0.47276
89.9683 | 0.52645
99.744 | 0.56327
109.4875 | 0.58016
119.264 | 0.58663
129.0767 | 0.58958
138.8422 | 0.59086
148.5919 | 0.59198
158.3697 | 0.5928
168.1571 | 0.59334
177.9387 | 0.59406
187.6986 | 0.59461
197.5079 | 0.59515
207.2678 | 0.59537
217.0527 | 0.59576
226.8215 | 0.59623
236.6326 | 0.59656
246.419 | 0.59686
256.1655 | 0.59701
265.948 | 0.59746
275.7622 | 0.59774
285.4944 | 0.59757
295.2635 | 0.59829
305.0807 | 0.59805
314.8562 | 0.59881
324.6393 | 0.59848
334.413 | 0.59875
344.2316 | 0.59919
354.0176 | 0.59954
363.8108 | 0.5993
373.6172 | 0.59979
383.4146 | 0.59947
393.1802 | 0.60028
402.9777 | 0.59999
412.8041 | 0.60049
422.6066 | 0.60069
432.382 | 0.60071
442.184 | 0.60047
452.0041 | 0.60107
461.8137 | 0.60085
471.605 | 0.60131
481.4501 | 0.60096
491.273 | 0.60135
500.479 | 0.60172
510.2911 | 0.60137
520.0681 | 0.60162
529.83 | 0.60179
539.6015 | 0.60199
549.4122 | 0.60175
559.1966 | 0.60207
568.9676 | 0.60209
578.7387 | 0.60236
588.5563 | 0.60206
598.3196 | 0.60253
608.1006 | 0.60219
617.907 | 0.60323
627.6702 | 0.60198
637.4323 | 0.60281
647.1917 | 0.60184
657.0216 | 0.6016
666.8063 | 0.60167
676.5688 | 0.60294
686.3731 | 0.603
696.1622 | 0.60318
705.9368 | 0.60308
715.6989 | 0.60312
725.5288 | 0.60342
735.3123 | 0.60306
745.0734 | 0.60313
754.8362 | 0.60334
764.6518 | 0.60351
774.4324 | 0.60348
784.2107 | 0.60356
794.0309 | 0.60331
803.8091 | 0.60377
813.5561 | 0.60377
823.3696 | 0.60374
833.2004 | 0.60391
842.9994 | 0.60404
852.755 | 0.60405
862.601 | 0.60415
872.392 | 0.60415
882.176 | 0.60408
891.9329 | 0.60435
901.7803 | 0.60425
911.5888 | 0.60408
921.3656 | 0.60425
931.1671 | 0.6046
940.9974 | 0.60486
950.8012 | 0.60334
960.6076 | 0.605
970.444 | 0.60503
980.2779 | 0.60411

## IV
%NEWTEST
SERIAL NUMBER: | A00075
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Jul/1/2003
PASSED | YES
%Test_Rawdata
FILENAME: | IV_A00075.dat
#IV
TEMPERATURE(C): | 28.7
2.0618 | 24.1
11.76 | 104.65
21.5721 | 116.45
31.3254 | 125.8
41.0811 | 133
50.8413 | 139.95
60.64 | 145.65
70.3963 | 148.8
80.1837 | 153.35
89.9683 | 157.25
99.744 | 160.35
109.4875 | 163.25
119.264 | 166.4
129.0767 | 169.45
138.8422 | 172.2
148.5919 | 174.15
158.3697 | 176.8
168.1571 | 179.5
177.9387 | 181.9
187.6986 | 184.1
197.5079 | 186
207.2678 | 188.3
217.0527 | 190.7
226.8215 | 192.8
236.6326 | 194.55
246.419 | 196.8
256.1655 | 198.8
265.948 | 200.65
275.7622 | 202.6
285.4944 | 204.3
295.2635 | 206.05
305.0807 | 207.9
314.8562 | 209.6
324.6393 | 211.4
334.413 | 212.9
344.2316 | 214.4
354.0176 | 215.9
363.8108 | 217.2
373.6172 | 215.1
383.4146 | 219.3
393.1802 | 217.15
402.9777 | 221.2
412.8041 | 218.7
422.6066 | 222.5
432.382 | 219.9
442.184 | 223.6
452.0041 | 221.05
461.8137 | 224.45
471.605 | 221.8
481.4501 | 225.25
491.273 | 222.45
500.479 | 225.9
510.2911 | 222.4
520.0681 | 226.75
529.83 | 223.2
539.6015 | 227.4
549.4122 | 223.6
559.1966 | 223.55
568.9676 | 223.95
578.7387 | 224.05
588.5563 | 224.3
598.3196 | 224.6
608.1006 | 224.95
617.907 | 225.05
627.6702 | 225.35
637.4323 | 225.55
647.1917 | 229.95
657.0216 | 226.1
666.8063 | 226.15
676.5688 | 226.35
686.3731 | 231
696.1622 | 227.2
705.9368 | 227.25
715.6989 | 227.25
725.5288 | 227.55
735.3123 | 227.85
745.0734 | 227.95
754.8362 | 232.45
764.6518 | 228.75
774.4324 | 228.75
784.2107 | 228.9
794.0309 | 228.95
803.8091 | 229.15
813.5561 | 229.75
823.3696 | 229.7
833.2004 | 229.85
842.9994 | 230.15
852.755 | 230.2
862.601 | 234.6
872.392 | 230.8
882.176 | 230.75
891.9329 | 231.15
901.7803 | 231.45
911.5888 | 231.5
921.3656 | 231.65
931.1671 | 231.95
940.9974 | 232.05
950.8012 | 232.25
960.6076 | 232.35
970.444 | 236.8
980.2779 | 233
#
#
#
#
#
#
#
#
#

## HPK
%ITEM
SERIAL NUMBER | A00075
%TEST
TEST DATE | 2003-01-01
PROBLEM | NO
PASSED | YES
%DATA
TEMPERATURE(C) | 25
I_LEAK500V(microA) | 0.1935
I_LEAK700V(microA) | 0.2065
Vdep(V) | 110
%DEFECT
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open
#
#
#
#
#
#
#
#
%RAWDATA
#IV
0 | 7.77
10 | 80.44
20 | 96.56
30 | 107.25
40 | 115.89
50 | 122.17
60 | 127.27
70 | 131.49
80 | 135.13
90 | 138.21
100 | 141.01
110 | 143.55
120 | 145.86
130 | 148.06
140 | 150.11
150 | 152.13
160 | 153.99
170 | 155.78
180 | 157.46
190 | 159.25
200 | 157.21
210 | 167.75
220 | 174.66
230 | 176.59
240 | 169.36
250 | 164.57
260 | 165.58
270 | 170.63
280 | 171.89
290 | 173.13
300 | 174.34
310 | 175.53
320 | 176.69
330 | 177.84
340 | 178.93
350 | 180.02
360 | 181
370 | 182.1
380 | 183
390 | 184
400 | 184.9
410 | 185.9
420 | 186.8
430 | 187.7
440 | 188.6
450 | 189.4
460 | 190.3
470 | 191.2
480 | 191.9
490 | 192.8
500 | 193.5
510 | 194.3
520 | 195
530 | 195.8
540 | 196.5
550 | 197.2
560 | 197.8
570 | 198.5
580 | 199.2
590 | 199.9
600 | 200.6
610 | 201.2
620 | 201.9
630 | 202.4
640 | 203
650 | 203.7
660 | 204.3
670 | 204.8
680 | 205.4
690 | 206
700 | 206.5
710 | 207.1
720 | 207.6
730 | 208.1
740 | 208.5
750 | 209
760 | 209.5
770 | 209.9
780 | 210.4
790 | 210.8
800 | 211.2
810 | 211.6
820 | 211.9
830 | 212.4
840 | 212.8
850 | 213.2
860 | 213.5
870 | 213.8
880 | 214.2
890 | 214.5
900 | 214.9
910 | 215.2
920 | 215.5
930 | 215.9
940 | 216.2
950 | 216.5
960 | 216.7
970 | 217
980 | 217.4
990 | 217.6
1000 | 218
%RAWDATA
#CV
50 | 1806.42
60 | 1643.06
70 | 1518.6
80 | 1422.13
90 | 1353.91
100 | 1318.8
110 | 1306.24
120 | 1301.84
130 | 1299.56
140 | 1297.93
150 | 1297.07
160 | 1296.19
170 | 1295.41
180 | 1294.8
190 | 1294.13
200 | 1293.76
210 | 1293.36
220 | 1292.97
230 | 1292.52
240 | 1292.24
250 | 1291.69
260 | 1291.51
270 | 1291.34
280 | 1290.94
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#