## summary
SENSOR TYPE | Axial
SERIAL NUMBER: | A00081
FDV(HPK) | 110
FDV (Tsukuba) | 100.7463
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open

## CV
%NEWTEST
SERIAL NUMBER: | A00081
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Jul/1/2003
PASSED | YES
%Test_Rawdata
FILENAME: | CV_A00081.dat
#CV
TEMPERATURE(C): | 28.6
DEPLETION V | 100.7463
30 | 0.15923
150 | 0.90496
100 | 0.59886
500 | 0.60304
2.0605 | 0.0018417
11.7564 | 0.040261
21.5682 | 0.10758
31.3269 | 0.16682
41.0849 | 0.22758
50.8404 | 0.28879
60.6416 | 0.34998
70.4012 | 0.41034
80.1877 | 0.46954
89.9746 | 0.52394
99.7479 | 0.56174
109.4946 | 0.58058
119.2726 | 0.58814
129.089 | 0.59142
138.8555 | 0.59318
148.6052 | 0.59434
158.3824 | 0.59503
168.1708 | 0.59594
177.9526 | 0.59617
187.7141 | 0.59717
197.524 | 0.59731
207.2885 | 0.59783
217.0633 | 0.598
226.8466 | 0.59833
236.6522 | 0.59883
246.4413 | 0.59921
256.1874 | 0.5994
265.9724 | 0.5993
275.7862 | 0.59982
285.5165 | 0.60074
295.2916 | 0.60001
305.1052 | 0.60061
314.885 | 0.60217
324.6676 | 0.60282
334.441 | 0.6025
344.2613 | 0.60148
354.0456 | 0.60067
363.8427 | 0.60037
373.6523 | 0.6014
383.4479 | 0.60299
393.2124 | 0.60206
403.0103 | 0.60224
412.8374 | 0.60328
422.6392 | 0.60375
432.4126 | 0.60366
442.2186 | 0.60207
452.0424 | 0.60301
461.8476 | 0.60369
471.6442 | 0.60321
481.4846 | 0.60392
491.3114 | 0.60354
500.5101 | 0.60377
510.3227 | 0.60377
520.1019 | 0.60396
529.865 | 0.60391
539.6397 | 0.60416
549.4528 | 0.60396
559.2329 | 0.6042
569.0116 | 0.60443
578.7834 | 0.60428
588.604 | 0.60443
598.3673 | 0.60466
608.1484 | 0.60448
617.9504 | 0.60488
627.7154 | 0.60515
637.4802 | 0.60474
647.2595 | 0.60502
657.0655 | 0.60502
666.848 | 0.60533
676.6122 | 0.60536
686.425 | 0.60538
696.2053 | 0.60497
705.9819 | 0.60584
715.7426 | 0.60598
725.5695 | 0.60567
735.3562 | 0.60562
745.1197 | 0.60569
754.8806 | 0.60579
764.6967 | 0.60595
774.4778 | 0.60602
784.26 | 0.60585
794.0723 | 0.60593
803.8568 | 0.60597
813.68 | 0.60604
823.4204 | 0.60655
833.2479 | 0.60616
843.0366 | 0.60682
852.8003 | 0.60606
862.6456 | 0.60579
872.4423 | 0.60669
882.2197 | 0.60665
891.9977 | 0.6067
902.3312 | 0.6067
911.6332 | 0.60694
921.409 | 0.60711
931.2142 | 0.6068
941.039 | 0.60691
950.8473 | 0.60683
960.6536 | 0.60696
970.4905 | 0.60788
980.3193 | 0.60681

## IV
%NEWTEST
SERIAL NUMBER: | A00081
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Jul/1/2003
PASSED | YES
%Test_Rawdata
FILENAME: | IV_A00081.dat
#IV
TEMPERATURE(C): | 28.6
2.0605 | 20.1
11.7564 | 96.15
21.5682 | 103.35
31.3269 | 111.75
41.0849 | 120.5
50.8404 | 126.6
60.6416 | 129.35
70.4012 | 134.15
80.1877 | 138.2
89.9746 | 141.75
99.7479 | 144.75
109.4946 | 147.9
119.2726 | 150.9
129.089 | 153.7
138.8555 | 155.65
148.6052 | 158.25
158.3824 | 160.9
168.1708 | 163.2
177.9526 | 165.6
187.7141 | 167.85
197.524 | 170.25
207.2885 | 172.6
217.0633 | 174.8
226.8466 | 177
236.6522 | 179.4
246.4413 | 181.4
256.1874 | 183.4
265.9724 | 185.3
275.7862 | 187.1
285.5165 | 188.6
295.2916 | 189.7
305.1052 | 187.5
314.885 | 191.4
324.6676 | 189
334.441 | 192.55
344.2613 | 190.15
354.0456 | 193.4
363.8427 | 190.85
373.6523 | 194.3
383.4479 | 191.6
393.2124 | 194.95
403.0103 | 192.2
412.8374 | 195.55
422.6392 | 192.85
432.4126 | 192.9
442.2186 | 193.1
452.0424 | 196.5
461.8476 | 194.15
471.6442 | 193.95
481.4846 | 197.2
491.3114 | 194.4
500.5101 | 197.5
510.3227 | 194.3
520.1019 | 194.15
529.865 | 194.55
539.6397 | 194.55
549.4528 | 194.85
559.2329 | 197.9
569.0116 | 198.1
578.7834 | 195.5
588.604 | 195.45
598.3673 | 195.65
608.1484 | 195.95
617.9504 | 196.15
627.7154 | 196.15
637.4802 | 196.3
647.2595 | 196.75
657.0655 | 196.85
666.848 | 197.05
676.6122 | 197.2
686.425 | 197.35
696.2053 | 197.55
705.9819 | 197.65
715.7426 | 197.85
725.5695 | 198
735.3562 | 202.3
745.1197 | 198.6
754.8806 | 198.6
764.6967 | 198.85
774.4778 | 198.8
784.26 | 198.85
794.0723 | 203.5
803.8568 | 202.8
813.68 | 199.55
823.4204 | 199.55
833.2479 | 204
843.0366 | 200.15
852.8003 | 200.55
862.6456 | 200.45
872.4423 | 200.65
882.2197 | 200.8
891.9977 | 200.85
902.3312 | 204.75
911.6332 | 201.4
921.409 | 201.35
931.2142 | 201.45
941.039 | 201.65
950.8473 | 201.75
960.6536 | 201.95
970.4905 | 202.25
980.3193 | 202.45
#
#
#
#
#
#
#
#
#

## HPK
%ITEM
SERIAL NUMBER | A00081
%TEST
TEST DATE | 2003-01-01
PROBLEM | NO
PASSED | YES
%DATA
TEMPERATURE(C) | 25
I_LEAK500V(microA) | 0.17233
I_LEAK700V(microA) | 0.1845
Vdep(V) | 110
%DEFECT
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open
#
#
#
#
#
#
#
#
%RAWDATA
#IV
0 | 7.77
10 | 70.83
20 | 84.41
30 | 93.51
40 | 101.04
50 | 106.53
60 | 111.02
70 | 114.8
80 | 118.07
90 | 120.97
100 | 123.53
110 | 125.92
120 | 128.23
130 | 130.29
140 | 132.24
150 | 134.09
160 | 135.84
170 | 137.54
180 | 139.04
190 | 140.58
200 | 142.19
210 | 143.64
220 | 145.04
230 | 146.35
240 | 147.62
250 | 148.83
260 | 150.13
270 | 147.67
280 | 148.41
290 | 164.29
300 | 165.93
310 | 168.48
320 | 153.13
330 | 154.64
340 | 158.61
350 | 159.61
360 | 160.57
370 | 161.53
380 | 162.43
390 | 163.36
400 | 164.25
410 | 165.12
420 | 165.99
430 | 166.84
440 | 167.65
450 | 168.48
460 | 169.27
470 | 170.06
480 | 170.83
490 | 171.61
500 | 172.33
510 | 173.07
520 | 173.76
530 | 174.45
540 | 175.12
550 | 175.84
560 | 176.52
570 | 177.18
580 | 177.83
590 | 178.47
600 | 179.06
610 | 179.7
620 | 180.2
630 | 180.9
640 | 181.4
650 | 182.03
660 | 182.5
670 | 183.1
680 | 183.5
690 | 184.1
700 | 184.5
710 | 185
720 | 185.4
730 | 185.8
740 | 186.3
750 | 186.7
760 | 187.1
770 | 187.4
780 | 187.8
790 | 188.2
800 | 188.6
810 | 188.9
820 | 189.2
830 | 189.6
840 | 189.9
850 | 190.2
860 | 190.5
870 | 190.9
880 | 191.1
890 | 191.4
900 | 191.7
910 | 192
920 | 192.3
930 | 192.6
940 | 192.9
950 | 193.1
960 | 193.4
970 | 193.7
980 | 194
990 | 194.2
1000 | 194.5
%RAWDATA
#CV
50 | 1825.08
60 | 1659.41
70 | 1533.07
80 | 1434.48
90 | 1363.18
100 | 1323.96
110 | 1308.79
120 | 1303.29
130 | 1300.73
140 | 1299.15
150 | 1297.95
160 | 1297.01
170 | 1296.29
180 | 1295.54
190 | 1295.05
200 | 1294.45
210 | 1294.09
220 | 1293.75
230 | 1293.2
240 | 1293.05
250 | 1292.59
260 | 1292.49
270 | 1291.95
280 | 1291.72
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#