## Sheet1
AFTER IRRADIATION
AFTER ANNEALING (4min 80C)
after 2.59E6 sec at room T
69 ! Detector label
! Manufacturer
! Layer and Side
4/9/03 ! Date of measurement
3:04 PM ! Measurement time
T = -7 ! Temperature (C)
! Humidity (%)
! Bias Voltage (Volt)
0 ! Radiation (Rad)
! Measurement done by
Purdue ! Measurement Location
! Frequency (kHz)/Strip Number |  | log(Vdep)= | 1.999 | V dep= | 99.7751 | f=10kHz and AC=1V
Comment : after irr cold chuck dry air f=100H, 1k, 10k AC=1V
Vbias | 10kHz
0 | 1.352e-08 | log(V) | log(C)
10 | 3.79e-09
20 | 9.526e-11 | 1.301 | -10.0211
30 | 2.563e-11 | 1.4771 | -10.5913 |  | Linear | Linear
40 | 1.543e-11 | 1.6021 | -10.8116 |  | 1.6021 | -10.8116
50 | 1.097e-11 | 1.699 | -10.9598 |  | 1.699 | -10.9598
60 | 8.05e-12 | 1.7782 | -11.0942 |  | 1.7782 | -11.0942
70 | 6.05e-12 | 1.8451 | -11.2182 |  | 1.8451 | -11.2182
80 | 4.74e-12 | 1.9031 | -11.3242 |  | 1.9031 | -11.3242
90 | 3.95e-12 | 1.9542 | -11.4034 |  | 1.9542 | -11.4034
100 | 3.5e-12 | 2 | -11.4559 |  | 2 | -11.4559
110 | 3.24e-12 | 2.0414 | -11.4895
120 | 3.7e-12 | 2.0792 | -11.4318
130 | 3.67e-12 | 2.1139 | -11.4353
140 | 3.45e-12 | 2.1461 | -11.4622 |  | Linear | Linear
150 | 3.45e-12 | 2.1761 | -11.4622 |  | 2.1761 | -11.4622
160 | 3.49e-12 | 2.2041 | -11.4572 |  | 2.2041 | -11.4572
170 | 3.44e-12 | 2.2304 | -11.4634 |  | 2.2304 | -11.4634
180 | 3.47e-12 | 2.2553 | -11.4597 |  | 2.2553 | -11.4597
190 | 3.4e-12 | 2.2788 | -11.4685 |  | 2.2788 | -11.4685
200 | 3.37e-12 | 2.301 | -11.4724 |  | 2.301 | -11.4724
210 | 3.4e-12 | 2.3222 | -11.4685 |  | 2.3222 | -11.4685
220 | 3.53e-12 | 2.3424 | -11.4522 |  | 2.3424 | -11.4522
230 | 3.45e-12 | 2.3617 | -11.4622 |  | 2.3617 | -11.4622
240 | 3.48e-12 | 2.3802 | -11.4584 |  | 2.3802 | -11.4584
250 | 3.43e-12 | 2.3979 | -11.4647 |  | 2.3979 | -11.4647
260 | 3.4e-12 | 2.415 | -11.4685 |  | 2.415 | -11.4685
270 | 3.43e-12 | 2.4314 | -11.4647 |  | 2.4314 | -11.4647
280 | 3.5e-12 | 2.4472 | -11.4559 |  | 2.4472 | -11.4559
290 | 3.64e-12 | 2.4624 | -11.4389 |  | 2.4624 | -11.4389
300 | 3.59e-12 | 2.4771 | -11.4449
310 | 3.62e-12 | 2.4914 | -11.4413
320 | 3.55e-12 | 2.5051 | -11.4498
330 | 3.6e-12 | 2.5185 | -11.4437
340 | 3.64e-12 | 2.5315 | -11.4389
350 | 3.66e-12 | 2.5441 | -11.4365
360 | 3.61e-12 | 2.5563 | -11.4425
370 | 3.6e-12 | 2.5682 | -11.4437
380 | 3.77e-12 | 2.5798 | -11.4237
390 | 3.75e-12 | 2.5911 | -11.426
400 | 3.69e-12 | 2.6021 | -11.433
410 | 3.68e-12 | 2.6128 | -11.4342
420 | 3.69e-12 | 2.6232 | -11.433
430 | 3.83e-12 | 2.6335 | -11.4168
440 | 3.83e-12 | 2.6435 | -11.4168
450 | 3.89e-12 | 2.6532 | -11.4101
460 | 3.86e-12 | 2.6628 | -11.4134
470 | 3.92e-12 | 2.6721 | -11.4067
480 | 3.82e-12 | 2.6812 | -11.4179
490 | 3.98e-12 | 2.6902 | -11.4001
500 | 4.14e-12 | 2.699 | -11.383