## summary
SENSOR TYPE: | Axial
SERIAL NUMBER: | A00264
FDV(HPK) | 120
FDV (Tsukuba) | 110.8525
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open

## CV
%NEWTEST
SERIAL NUMBER: | A00264
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Aug/4/2003
PASSED | YES
%Test_Rawdata
FILENAME: | CV_A00264.dat
#CV
TEMPERATURE(C): | 29.3
DEPLETION V | 110.8525
30 | 0.17654
150 | 0.87203
100 | 0.64532
500 | 0.63878
2.0421 | 0.0027135
9.2284 | 0.058685
19.7092 | 0.11406
28.7874 | 0.17129
38.4513 | 0.22641
48.3154 | 0.28371
58.1093 | 0.34038
67.8823 | 0.3955
77.6795 | 0.45168
87.4633 | 0.50541
97.1396 | 0.55373
106.983 | 0.58826
116.7679 | 0.60719
127.0795 | 0.61723
136.3471 | 0.62172
146.1108 | 0.62298
155.8817 | 0.62449
165.6779 | 0.62682
175.4629 | 0.62851
185.2162 | 0.62925
195.0377 | 0.63059
204.8174 | 0.63048
214.5726 | 0.63378
224.6142 | 0.63313
234.1712 | 0.63474
243.9698 | 0.63467
253.7029 | 0.63617
265.4144 | 0.63649
273.2902 | 0.63709
283.1758 | 0.6372
292.8119 | 0.6387
302.6181 | 0.63949
312.3879 | 0.63969
322.5525 | 0.64029
331.9402 | 0.64088
341.7285 | 0.64152
351.5587 | 0.6416
361.3598 | 0.64202
372.7224 | 0.64233
380.9559 | 0.64311
390.7378 | 0.64345
400.5269 | 0.64306
410.3227 | 0.6431
420.0976 | 0.64406
429.9271 | 0.64488
439.7188 | 0.64443
449.4517 | 0.64529
459.3297 | 0.64477
471.0986 | 0.64492
478.9626 | 0.64376
488.7501 | 0.64445
496.9555 | 0.64336
506.7583 | 0.64491
516.5484 | 0.64478
526.2736 | 0.64431
536.0768 | 0.64289
545.9085 | 0.64393
555.7128 | 0.64267
565.489 | 0.64206
575.2612 | 0.64196
585.0336 | 0.64293
594.8683 | 0.64243
604.649 | 0.64127
614.461 | 0.64132
624.2407 | 0.64209
635.12 | 0.6412
643.8018 | 0.64113
653.5798 | 0.639
663.4478 | 0.63939
673.182 | 0.63789
682.9997 | 0.63903
692.7692 | 0.63754
702.574 | 0.63606
712.3562 | 0.63614
722.1687 | 0.63578
731.9668 | 0.63429
741.7562 | 0.6337
751.5411 | 0.63442
761.3381 | 0.63477
771.1024 | 0.63405
780.9291 | 0.63244
790.7398 | 0.63173
800.527 | 0.63142
810.3158 | 0.6319
820.7548 | 0.63171
829.8974 | 0.63114
839.7068 | 0.63039
849.4895 | 0.62943
859.3336 | 0.6296
869.156 | 0.62916
878.9678 | 0.62996
888.75 | 0.62993
898.5225 | 0.62945
908.3892 | 0.62827
918.1728 | 0.62825
927.9459 | 0.62711
937.653 | 0.62783
947.5804 | 0.62715
957.4082 | 0.62751
967.2197 | 0.62766
977.0959 | 0.62719

## IV
%NEWTEST
SERIAL NUMBER: | A00264
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Aug/4/2003
PASSED | YES
%Test_Rawdata
FILENAME: | IV_A00264.dat
#IV
TEMPERATURE(C): | 29.3
2.0421 | 27.841
9.2284 | 115.1915
19.7092 | 129.214
28.7874 | 134.747
38.4513 | 138.1585
48.3154 | 140.9615
58.1093 | 143.4565
67.8823 | 145.6235
77.6795 | 147.4645
87.4633 | 149.163
97.1396 | 150.9975
106.983 | 152.41
116.7679 | 153.6455
127.0795 | 155.5605
136.3471 | 157.1945
146.1108 | 158.7155
155.8817 | 160.2365
165.6779 | 161.713
175.4629 | 163.1265
185.2162 | 164.52
195.0377 | 165.8475
204.8174 | 167.0595
214.5726 | 168.338
224.6142 | 168.903
234.1712 | 169.898
243.9698 | 170.8975
253.7029 | 172.5085
265.4144 | 172.0015
273.2902 | 174.085
283.1758 | 175.4275
292.8119 | 176.266
302.6181 | 177.1205
312.3879 | 177.7885
322.5525 | 178.3985
331.9402 | 178.2685
341.7285 | 179.276
351.5587 | 180.035
361.3598 | 180.1035
372.7224 | 179.997
380.9559 | 181.0255
390.7378 | 180.949
400.5269 | 181.8185
410.3227 | 181.3855
420.0976 | 182.483
429.9271 | 183.1665
439.7188 | 183.6325
449.4517 | 183.88
459.3297 | 184.1845
471.0986 | 181.5055
478.9626 | 183.2325
488.7501 | 184.7045
496.9555 | 185.1875
506.7583 | 185.82
516.5484 | 186.1385
526.2736 | 186.393
536.0768 | 186.757
545.9085 | 186.9755
555.7128 | 186.831
565.489 | 187.208
575.2612 | 187.673
585.0336 | 187.971
594.8683 | 187.783
604.649 | 187.393
614.461 | 188.308
624.2407 | 188.2145
635.12 | 188.242
643.8018 | 188.93
653.5798 | 189.235
663.4478 | 189.6585
673.182 | 190.063
682.9997 | 189.9275
692.7692 | 190.213
702.574 | 190.3765
712.3562 | 190.927
722.1687 | 190.75
731.9668 | 191.119
741.7562 | 191.5835
751.5411 | 191.945
761.3381 | 192.161
771.1024 | 192.378
780.9291 | 192.578
790.7398 | 192.4385
800.527 | 192.74
810.3158 | 193.1935
820.7548 | 193.1205
829.8974 | 193.064
839.7068 | 193.468
849.4895 | 194.0225
859.3336 | 194.2495
869.156 | 194.502
878.9678 | 193.391
888.75 | 194.4245
898.5225 | 194.59
908.3892 | 194.931
918.1728 | 195.458
927.9459 | 195.6985
937.653 | 195.9055
947.5804 | 195.6615
957.4082 | 195.663
967.2197 | 196.2265
977.0959 | 196.6345
#
#
#
#
#
#
#
#
#

## HPK
%ITEM
SERIAL NUMBER | A00264
%TEST
TEST DATE | 2003-01-01
PROBLEM | NO
PASSED | YES
%DATA
TEMPERATURE(C) | 25
I_LEAK500V(microA) | 0.13507
I_LEAK700V(microA) | 0.13988
Vdep(V) | 120
%DEFECT
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open
#
#
#
#
#
#
#
#
%RAWDATA
#IV
0 | 5.391
10 | 69.56
20 | 83.27
30 | 90.32
40 | 95.35
50 | 99
60 | 101.86
70 | 104.2
80 | 106.18
90 | 107.88
100 | 109.39
110 | 110.74
120 | 111.94
130 | 113.09
140 | 114.16
150 | 115.14
160 | 116.1
170 | 117.04
180 | 117.94
190 | 118.79
200 | 119.67
210 | 120.5
220 | 121.28
230 | 122.05
240 | 122.79
250 | 123.51
260 | 124.23
270 | 124.93
280 | 125.56
290 | 126.18
300 | 126.84
310 | 127.42
320 | 127.97
330 | 128.5
340 | 129.01
350 | 129.49
360 | 129.93
370 | 130.36
380 | 130.86
390 | 131.28
400 | 131.67
410 | 132.04
420 | 132.41
430 | 132.78
440 | 133.15
450 | 133.89
460 | 134.31
470 | 138.94
480 | 142.06
490 | 142.39
500 | 135.07
510 | 135.7
520 | 136.27
530 | 135.36
540 | 136.35
550 | 136.59
560 | 136.84
570 | 137.09
580 | 137.31
590 | 137.56
600 | 137.78
610 | 137.98
620 | 138.23
630 | 138.45
640 | 138.61
650 | 138.84
660 | 139.06
670 | 139.26
680 | 139.44
690 | 139.68
700 | 139.88
710 | 140
720 | 140.23
730 | 140.45
740 | 140.62
750 | 140.83
760 | 141
770 | 141.2
780 | 141.37
790 | 141.55
800 | 141.79
810 | 141.94
820 | 142.14
830 | 142.34
840 | 142.53
850 | 142.69
860 | 142.89
870 | 143.08
880 | 143.26
890 | 143.47
900 | 143.65
910 | 143.83
920 | 144
930 | 144.15
940 | 144.39
950 | 144.59
960 | 144.74
970 | 144.93
980 | 145.1
990 | 145.29
1000 | 145.45
%RAWDATA
#CV
50 | 1928.94
60 | 1756.2
70 | 1623.21
80 | 1517.28
90 | 1432.49
100 | 1369.94
110 | 1332.41
120 | 1313.59
130 | 1305.48
140 | 1302.02
150 | 1300.12
160 | 1299.23
170 | 1297.92
180 | 1297.32
190 | 1296.75
200 | 1296.21
210 | 1295.6
220 | 1294.96
230 | 1294.79
240 | 1294.42
250 | 1293.92
260 | 1293.63
270 | 1293.42
280 | 1293.21
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#