## summary
SENSOR TYPE: | Axial
SERIAL NUMBER: | A00278
FDV(HPK) | 120
FDV (Tsukuba) | 107.78
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open

## CV
%NEWTEST
SERIAL NUMBER: | A00278
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Aug/4/2003
PASSED | YES
%Test_Rawdata
FILENAME: | CV_A00278.dat
#CV
TEMPERATURE(C): | 29.1
DEPLETION V | 107.78
30 | 0.17571
150 | 0.87446
100 | 0.62853
500 | 0.63286
2.0466 | 0.002421
9.224 | 0.056659
19.7306 | 0.11356
28.8086 | 0.16916
38.5525 | 0.22702
48.3115 | 0.28407
58.1057 | 0.33972
67.8941 | 0.39638
77.649 | 0.45151
87.4439 | 0.50634
97.2319 | 0.55455
106.9878 | 0.58735
116.7651 | 0.6025
127.0869 | 0.60952
136.3416 | 0.61182
146.0982 | 0.61419
155.8789 | 0.61627
165.6636 | 0.61696
175.4343 | 0.61795
185.2015 | 0.61783
195.0185 | 0.61982
204.7973 | 0.62047
214.5515 | 0.62256
224.3518 | 0.62292
234.1456 | 0.62309
243.9333 | 0.62401
253.6857 | 0.62477
263.4658 | 0.62525
273.2491 | 0.62667
283.0258 | 0.62773
292.8021 | 0.62655
302.596 | 0.6281
312.2994 | 0.62785
322.141 | 0.62918
331.9424 | 0.62956
341.7365 | 0.63055
351.5256 | 0.63083
361.3142 | 0.63102
371.1144 | 0.63247
380.9201 | 0.63193
390.7011 | 0.63285
400.4777 | 0.63262
410.2963 | 0.63432
420.0822 | 0.6336
429.8778 | 0.6344
439.6813 | 0.63516
449.4952 | 0.6354
459.2795 | 0.63522
469.0808 | 0.63545
478.9043 | 0.63596
488.7449 | 0.63642
496.8956 | 0.63701
506.5215 | 0.63712
516.4975 | 0.63734
526.2692 | 0.63817
536.0428 | 0.63842
545.8522 | 0.63776
555.6211 | 0.63854
565.4277 | 0.63862
575.1957 | 0.63779
585.0307 | 0.63845
594.8222 | 0.63809
604.5885 | 0.63777
614.4144 | 0.63868
624.1981 | 0.63809
633.9707 | 0.63853
643.6399 | 0.63875
653.5328 | 0.63818
663.3575 | 0.63765
673.1356 | 0.63786
682.9449 | 0.63792
692.7395 | 0.63835
702.5321 | 0.63808
712.3074 | 0.63766
722.1024 | 0.63657
731.9226 | 0.63681
741.7037 | 0.63709
751.4857 | 0.63721
761.2831 | 0.63705
771.0766 | 0.63649
780.8765 | 0.63681
790.6639 | 0.63609
800.4468 | 0.63611
810.1 | 0.63557
820.0389 | 0.63626
829.8581 | 0.63422
839.6888 | 0.63488
849.4511 | 0.63456
859.277 | 0.63556
869.0962 | 0.63443
878.9006 | 0.6334
888.6756 | 0.63423
898.4941 | 0.63254
908.2429 | 0.63262
918.1072 | 0.63344
927.908 | 0.63297
937.7288 | 0.63331
947.5494 | 0.63249
957.3382 | 0.63175
967.1989 | 0.6319
977.0334 | 0.63146

## IV
%NEWTEST
SERIAL NUMBER: | A00278
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Aug/4/2003
PASSED | YES
%Test_Rawdata
FILENAME: | IV_A00278.dat
#IV
TEMPERATURE(C): | 29.1
2.0466 | 28.0815
9.224 | 118.826
19.7306 | 133.828
28.8086 | 140.2485
38.5525 | 144.1825
48.3115 | 147.4445
58.1057 | 150.4885
67.8941 | 153.1725
77.649 | 155.5735
87.4439 | 157.79
97.2319 | 159.745
106.9878 | 161.6245
116.7651 | 163.8025
127.0869 | 165.5695
136.3416 | 167.4585
146.0982 | 169.297
155.8789 | 171.1005
165.6636 | 172.9155
175.4343 | 174.6955
185.2015 | 176.4305
195.0185 | 178.1265
204.7973 | 179.8665
214.5515 | 181.517
224.3518 | 183.1465
234.1456 | 184.857
243.9333 | 186.2215
253.6857 | 187.672
263.4658 | 189.0775
273.2491 | 190.3885
283.0258 | 191.547
292.8021 | 192.672
302.596 | 193.6565
312.2994 | 194.5175
322.141 | 194.58
331.9424 | 195.6755
341.7365 | 196.549
351.5256 | 197.18
361.3142 | 197.6715
371.1144 | 198.1695
380.9201 | 198.527
390.7011 | 198.8805
400.4777 | 199.2765
410.2963 | 199.6865
420.0822 | 199.992
429.8778 | 200.2645
439.6813 | 200.65
449.4952 | 201.005
459.2795 | 201.283
469.0808 | 201.527
478.9043 | 201.8495
488.7449 | 202.114
496.8956 | 202.43
506.5215 | 202.9
516.4975 | 203.245
526.2692 | 203.311
536.0428 | 203.845
545.8522 | 204.059
555.6211 | 203.805
565.4277 | 204.1655
575.1957 | 204.6755
585.0307 | 204.5805
594.8222 | 204.5115
604.5885 | 205.121
614.4144 | 205.6985
624.1981 | 205.4395
633.9707 | 205.3675
643.6399 | 205.958
653.5328 | 206.5595
663.3575 | 206.8835
673.1356 | 207.1155
682.9449 | 206.6285
692.7395 | 207.1275
702.5321 | 207.17
712.3074 | 207.562
722.1024 | 208.161
731.9226 | 208.38
741.7037 | 208.1235
751.4857 | 208.4515
761.2831 | 208.389
771.0766 | 208.8915
780.8765 | 208.8825
790.6639 | 209.2835
800.4468 | 209.764
810.1 | 211.805
820.0389 | 210.455
829.8581 | 210.545
839.6888 | 210.975
849.4511 | 210.995
859.277 | 211.395
869.0962 | 211.545
878.9006 | 211.615
888.6756 | 211.715
898.4941 | 211.695
908.2429 | 212.155
918.1072 | 211.9
927.908 | 211.745
937.7288 | 211.83
947.5494 | 212.115
957.3382 | 212.225
967.1989 | 212.45
977.0334 | 212.625
#
#
#
#
#
#
#
#
#

## HPK
%ITEM
SERIAL NUMBER | A00278
%TEST
TEST DATE | 2003-01-01
PROBLEM | NO
PASSED | YES
%DATA
TEMPERATURE(C) | 25
I_LEAK500V(microA) | 0.14892
I_LEAK700V(microA) | 0.1551
Vdep(V) | 120
%DEFECT
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open
#
#
#
#
#
#
#
#
%RAWDATA
#IV
0 | 5.531
10 | 69.85
20 | 84.12
30 | 92.17
40 | 98.08
50 | 102.24
60 | 105.6
70 | 108.39
80 | 110.78
90 | 112.87
100 | 114.67
110 | 116.28
120 | 117.79
130 | 119.23
140 | 120.53
150 | 121.83
160 | 123.03
170 | 124.24
180 | 125.35
190 | 126.42
200 | 127.47
210 | 128.5
220 | 129.48
230 | 130.48
240 | 131.42
250 | 132.33
260 | 133.25
270 | 134.11
280 | 134.96
290 | 135.78
300 | 136.59
310 | 137.38
320 | 138.14
330 | 138.88
340 | 139.64
350 | 140.38
360 | 141.07
370 | 141.75
380 | 142.4
390 | 143.06
400 | 143.7
410 | 144.33
420 | 144.87
430 | 145.44
440 | 146.05
450 | 146.57
460 | 147.06
470 | 147.6
480 | 148.03
490 | 148.5
500 | 148.92
510 | 149.9
520 | 150.97
530 | 150.9
540 | 157.94
550 | 158.65
560 | 154.54
570 | 151.62
580 | 152.84
590 | 152.36
600 | 152.67
610 | 152.92
620 | 153.2
630 | 153.45
640 | 153.69
650 | 153.97
660 | 154.19
670 | 154.42
680 | 154.67
690 | 154.88
700 | 155.1
710 | 155.31
720 | 155.54
730 | 155.75
740 | 155.95
750 | 156.18
760 | 156.38
770 | 156.6
780 | 156.77
790 | 156.98
800 | 157.19
810 | 157.38
820 | 157.62
830 | 157.77
840 | 157.95
850 | 158.16
860 | 158.36
870 | 158.55
880 | 158.76
890 | 158.93
900 | 159.16
910 | 159.37
920 | 159.54
930 | 159.74
940 | 159.93
950 | 160.12
960 | 160.31
970 | 160.49
980 | 160.72
990 | 160.89
1000 | 161.1
%RAWDATA
#CV
50 | 1913.29
60 | 1740.42
70 | 1607.67
80 | 1502.16
90 | 1417.61
100 | 1355.38
110 | 1319.46
120 | 1304.4
130 | 1298.56
140 | 1296.17
150 | 1294.75
160 | 1293.48
170 | 1292.69
180 | 1292.01
190 | 1291.41
200 | 1290.71
210 | 1290.32
220 | 1289.78
230 | 1289.46
240 | 1289.04
250 | 1288.77
260 | 1288.38
270 | 1288.13
280 | 1287.89
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#