## summary
SENSOR TYPE: | Axial
SERIAL NUMBER: | A00372
FDV(HPK) | 100
FDV (Tsukuba) | 87.8455
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open

## CV
%NEWTEST
SERIAL NUMBER: | A00372
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/2/2003
PASSED | YES
%Test_Rawdata
FILENAME: | CV_A00372.dat
#CV
TEMPERATURE(C): | 26.8
DEPLETION V | 87.8455
30 | 0.21405
150 | 1.0552
100 | 0.61968
500 | 0.62504
2.0822 | 0.0024271
9.2683 | 0.067774
19.7595 | 0.13761
28.8459 | 0.20756
38.5855 | 0.2755
48.3435 | 0.34554
58.1371 | 0.41306
67.9213 | 0.48211
77.6824 | 0.54313
87.4742 | 0.58162
97.2034 | 0.59639
106.9596 | 0.60159
116.7912 | 0.60356
127.1024 | 0.60553
136.3264 | 0.60737
146.0929 | 0.60818
155.8857 | 0.60901
165.6667 | 0.61051
175.4542 | 0.611
185.1488 | 0.61217
195.025 | 0.61259
204.7996 | 0.61285
214.5612 | 0.61435
224.353 | 0.61485
234.1464 | 0.61614
243.9282 | 0.61664
253.6922 | 0.61672
263.4559 | 0.61799
273.2452 | 0.61809
282.9939 | 0.61911
292.7847 | 0.61933
302.5707 | 0.61987
312.362 | 0.62055
322.1588 | 0.62071
331.9113 | 0.62156
341.7106 | 0.62203
351.4995 | 0.62277
361.2917 | 0.62296
371.0749 | 0.62397
380.8746 | 0.62396
390.6606 | 0.62414
400.4333 | 0.62524
410.2526 | 0.62525
420.0607 | 0.62594
429.8359 | 0.62592
439.628 | 0.62674
449.4348 | 0.62713
459.241 | 0.62725
469.0243 | 0.62757
478.8563 | 0.62791
488.6911 | 0.62804
496.8149 | 0.62875
506.6454 | 0.62906
516.4376 | 0.62911
526.1985 | 0.62959
535.9666 | 0.62928
545.7763 | 0.62945
555.5674 | 0.62983
565.3341 | 0.62972
575.1338 | 0.63024
584.9151 | 0.63005
594.7157 | 0.63021
604.4896 | 0.63022
614.3027 | 0.63051
624.0892 | 0.63048
633.8564 | 0.63054
643.5706 | 0.6304
653.4117 | 0.63048
663.1924 | 0.63052
672.9285 | 0.62994
682.8172 | 0.63042
692.616 | 0.63023
702.3753 | 0.63019
712.1559 | 0.62958
721.9222 | 0.62998
731.7521 | 0.63023
741.5593 | 0.6295
751.1847 | 0.62996
761.1212 | 0.62971
770.8874 | 0.62894
780.7236 | 0.62872
790.513 | 0.62903
800.2873 | 0.62886
810.058 | 0.62842
819.8762 | 0.62863
829.6803 | 0.62808
839.5271 | 0.6284
849.2879 | 0.62825
859.088 | 0.62728
868.9102 | 0.62779
878.6992 | 0.62774
888.4463 | 0.6273
898.2894 | 0.62725
908.0934 | 0.62688
917.8444 | 0.62717
927.678 | 0.62686
937.4894 | 0.62582
947.3159 | 0.62601
957.1456 | 0.62634
966.9626 | 0.6261
976.7949 | 0.62588

## IV
%NEWTEST
SERIAL NUMBER: | A00372
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/2/2003
PASSED | YES
%Test_Rawdata
FILENAME: | IV_A00372.dat
#IV
TEMPERATURE(C): | 26.8
2.0822 | 78
9.2683 | 155
19.7595 | 227.5
28.8459 | 242.5
38.5855 | 265
48.3435 | 285
58.1371 | 300
67.9213 | 313
77.6824 | 323.5
87.4742 | 331.5
97.2034 | 337.5
106.9596 | 342.5
116.7912 | 346.5
127.1024 | 349
136.3264 | 352
146.0929 | 355
155.8857 | 357
165.6667 | 359.5
175.4542 | 362
185.1488 | 364
195.025 | 366.5
204.7996 | 368.5
214.5612 | 371
224.353 | 373
234.1464 | 375.5
243.9282 | 377.5
253.6922 | 379.5
263.4559 | 382
273.2452 | 384
282.9939 | 386
292.7847 | 388
302.5707 | 390
312.362 | 392
322.1588 | 394
331.9113 | 396
341.7106 | 398
351.4995 | 400
361.2917 | 402
371.0749 | 404.5
380.8746 | 407
390.6606 | 409
400.4333 | 410.5
410.2526 | 412.5
420.0607 | 414.5
429.8359 | 416.5
439.628 | 418.5
449.4348 | 420
459.241 | 422
469.0243 | 424.5
478.8563 | 426
488.6911 | 428
496.8149 | 429
506.6454 | 431
516.4376 | 433
526.1985 | 434
535.9666 | 436
545.7763 | 437
555.5674 | 438.5
565.3341 | 440
575.1338 | 441.5
584.9151 | 443
594.7157 | 444
604.4896 | 445
614.3027 | 447
624.0892 | 448
633.8564 | 449
643.5706 | 450.5
653.4117 | 452
663.1924 | 453
672.9285 | 454
682.8172 | 455
692.616 | 456
702.3753 | 457
712.1559 | 458
721.9222 | 459
731.7521 | 460
741.5593 | 461
751.1847 | 462
761.1212 | 463
770.8874 | 464
780.7236 | 465
790.513 | 466
800.2873 | 467
810.058 | 468
819.8762 | 469
829.6803 | 470
839.5271 | 470.5
849.2879 | 471
859.088 | 472
868.9102 | 473
878.6992 | 474
888.4463 | 475
898.2894 | 475.5
908.0934 | 476
917.8444 | 477
927.678 | 478
937.4894 | 478.5
947.3159 | 480
957.1456 | 480.5
966.9626 | 481
976.7949 | 482
#
#
#
#
#
#
#
#
#

## HPK
%ITEM
SERIAL NUMBER | A00372
%TEST
TEST DATE | 2003-01-01
PROBLEM | NO
PASSED | YES
%DATA
TEMPERATURE(C) | 25
I_LEAK500V(microA) | 0.408
I_LEAK700V(microA) | 0.4348
Vdep(V) | 100
%DEFECT
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open
#
#
#
#
#
#
#
#
%RAWDATA
#IV
0 | 7.95
10 | 187.2
20 | 226.9
30 | 252.1
40 | 271.9
50 | 287.2
60 | 299.3
70 | 308.8
80 | 315.9
90 | 321.2
100 | 325
110 | 328.3
120 | 331.2
130 | 333.9
140 | 336.6
150 | 339.2
160 | 341.6
170 | 344.1
180 | 346.5
190 | 349
200 | 351.4
210 | 353.8
220 | 356.3
230 | 358.5
240 | 360.9
250 | 363.1
260 | 365.4
270 | 367.7
280 | 370
290 | 372.2
300 | 374.4
310 | 376.6
320 | 378.6
330 | 380.7
340 | 382.8
350 | 384.8
360 | 386.8
370 | 388.6
380 | 390.5
390 | 392.3
400 | 394.2
410 | 395.9
420 | 397.8
430 | 399.4
440 | 401.2
450 | 402.8
460 | 404.5
470 | 406
480 | 407.6
490 | 409.1
500 | 408
510 | 413.9
520 | 415.6
530 | 417.5
540 | 418.3
550 | 419.8
560 | 421.5
570 | 418.1
580 | 421.1
590 | 422.3
600 | 423.5
610 | 424.7
620 | 425.9
630 | 427.1
640 | 428.2
650 | 429.3
660 | 430.5
670 | 431.6
680 | 432.7
690 | 433.7
700 | 434.8
710 | 435.8
720 | 436.9
730 | 437.9
740 | 438.9
750 | 439.8
760 | 440.8
770 | 441.8
780 | 442.8
790 | 443.7
800 | 444.6
810 | 445.5
820 | 446.5
830 | 447.4
840 | 448.4
850 | 449.2
860 | 450.2
870 | 451
880 | 451.9
890 | 452.8
900 | 453.7
910 | 454.6
920 | 455.3
930 | 456.3
940 | 457.1
950 | 458
960 | 458.8
970 | 459.8
980 | 460.6
990 | 461.5
1000 | 462.3
%RAWDATA
#CV
50 | 1720.16
60 | 1564.74
70 | 1447.36
80 | 1363.77
90 | 1320.22
100 | 1306.21
110 | 1300.98
120 | 1298.68
130 | 1297.39
140 | 1296.14
150 | 1295.5
160 | 1294.96
170 | 1294.32
180 | 1293.86
190 | 1293.39
200 | 1292.9
210 | 1292.37
220 | 1291.96
230 | 1291.43
240 | 1291.14
250 | 1290.8
260 | 1290.58
270 | 1290.55
280 | 1290.37
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#