## summary
SENSOR TYPE: | Axial
SERIAL NUMBER: | A00474
FDV(HPK) | 130
FDV (Tsukuba) | 118.0112
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open

## CV
%NEWTEST
SERIAL NUMBER: | A00474
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/2/2003
PASSED | YES
%Test_Rawdata
FILENAME: | CV_A00474.dat
#CV
TEMPERATURE(C): | 27.2
DEPLETION V | 118.0112
30 | 0.1614
150 | 0.81446
100 | 0.64065
500 | 0.63446
2.0849 | 0.0021595
9.2682 | 0.051636
19.7519 | 0.10412
28.822 | 0.15555
38.5838 | 0.20899
48.3451 | 0.26209
58.1424 | 0.31451
67.9053 | 0.36791
77.6678 | 0.41988
87.4488 | 0.4725
97.229 | 0.52263
106.9828 | 0.56607
116.7539 | 0.59442
127.0597 | 0.60849
136.3224 | 0.61386
146.0941 | 0.6176
155.8563 | 0.61972
165.6404 | 0.62236
175.4243 | 0.62294
185.1744 | 0.6252
194.9708 | 0.62605
204.7422 | 0.62669
214.5061 | 0.62878
224.2896 | 0.62912
234.1004 | 0.63095
243.887 | 0.63126
253.6292 | 0.63186
263.3847 | 0.6333
273.2108 | 0.6336
282.9558 | 0.63412
292.6741 | 0.63512
302.498 | 0.63543
312.3027 | 0.63629
322.072 | 0.63686
331.8337 | 0.63787
341.6431 | 0.63788
351.4355 | 0.63811
361.2197 | 0.63853
370.9937 | 0.63912
380.8128 | 0.63925
390.5845 | 0.63969
400.3692 | 0.63993
410.1863 | 0.63977
419.9857 | 0.6402
429.7532 | 0.6402
439.5574 | 0.64015
449.3581 | 0.64015
459.1683 | 0.63998
468.9492 | 0.64038
478.7803 | 0.6398
488.6147 | 0.64025
496.7696 | 0.63906
506.5737 | 0.63814
516.3594 | 0.63865
526.1236 | 0.63851
535.9037 | 0.63828
545.6933 | 0.63858
555.531 | 0.63817
565.2631 | 0.63724
575.0247 | 0.63743
584.869 | 0.6358
594.6387 | 0.63616
604.4237 | 0.63506
614.2265 | 0.63515
624.0071 | 0.63407
633.7864 | 0.63433
643.5463 | 0.63273
653.3136 | 0.63347
663.1721 | 0.63203
672.8594 | 0.63264
682.661 | 0.63313
692.5263 | 0.6319
702.3254 | 0.63227
712.0667 | 0.63081
721.8863 | 0.63139
731.7216 | 0.63087
741.4729 | 0.63088
751.211 | 0.62989
761.0544 | 0.62849
770.8513 | 0.62935
780.6453 | 0.62819
790.46 | 0.62822
800.2408 | 0.62855
809.9692 | 0.62815
819.8098 | 0.62671
829.6234 | 0.62779
839.452 | 0.62751
849.2202 | 0.62764
859.0186 | 0.6273
868.8302 | 0.62534
878.6505 | 0.62644
888.3851 | 0.62631
898.2422 | 0.62605
908.0583 | 0.6256
917.8534 | 0.62595
927.6197 | 0.62532
937.47 | 0.62536
947.2771 | 0.62521
957.0884 | 0.62487
966.9125 | 0.62477
976.7583 | 0.62425

## IV
%NEWTEST
SERIAL NUMBER: | A00474
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/2/2003
PASSED | YES
%Test_Rawdata
FILENAME: | IV_A00474.dat
#IV
TEMPERATURE(C): | 27.2
2.0849 | 41
9.2682 | 125.5
19.7519 | 128
28.822 | 128
38.5838 | 127
48.3451 | 126
58.1424 | 127
67.9053 | 128
77.6678 | 129
87.4488 | 130
97.229 | 132
106.9828 | 133
116.7539 | 134.5
127.0597 | 136
136.3224 | 137
146.0941 | 139
155.8563 | 140
165.6404 | 142
175.4243 | 143
185.1744 | 145
194.9708 | 146
204.7422 | 147
214.5061 | 148.5
224.2896 | 150
234.1004 | 151.5
243.887 | 153
253.6292 | 154
263.3847 | 155
273.2108 | 156.5
282.9558 | 157.5
292.6741 | 159
302.498 | 160
312.3027 | 161
322.072 | 161.5
331.8337 | 163
341.6431 | 164
351.4355 | 165
361.2197 | 166.5
370.9937 | 167.5
380.8128 | 168.5
390.5845 | 169.5
400.3692 | 170
410.1863 | 171
419.9857 | 172
429.7532 | 173
439.5574 | 174
449.3581 | 175
459.1683 | 176
468.9492 | 177
478.7803 | 177.5
488.6147 | 178.5
496.7696 | 179
506.5737 | 180
516.3594 | 181
526.1236 | 182
535.9037 | 183
545.6933 | 184
555.531 | 185
565.2631 | 185
575.0247 | 186
584.869 | 187
594.6387 | 188
604.4237 | 189
614.2265 | 189
624.0071 | 190
633.7864 | 191
643.5463 | 191.5
653.3136 | 192
663.1721 | 193
672.8594 | 194
682.661 | 195
692.5263 | 195
702.3254 | 196
712.0667 | 196.5
721.8863 | 197
731.7216 | 198
741.4729 | 198
751.211 | 198
761.0544 | 199
770.8513 | 200
780.6453 | 200
790.46 | 201
800.2408 | 201
809.9692 | 201
819.8098 | 202
829.6234 | 202.5
839.452 | 203
849.2202 | 203
859.0186 | 203
868.8302 | 203
878.6505 | 204
888.3851 | 204
898.2422 | 204
908.0583 | 204
917.8534 | 204
927.6197 | 204
937.47 | 205
947.2771 | 205
957.0884 | 205
966.9125 | 205
976.7583 | 206
#
#
#
#
#
#
#
#
#

## HPK
%ITEM
SERIAL NUMBER | A00474
%TEST
TEST DATE | 2003-01-01
PROBLEM | NO
PASSED | YES
%DATA
TEMPERATURE(C) | 25
I_LEAK500V(microA) | 0.15357
I_LEAK700V(microA) | 0.16079
Vdep(V) | 130
%DEFECT
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open
#
#
#
#
#
#
#
#
%RAWDATA
#IV
0 | 5.738
10 | 61.19
20 | 73
30 | 79.44
40 | 84.69
50 | 88.46
60 | 91.56
70 | 94.24
80 | 96.56
90 | 98.66
100 | 100.59
110 | 102.35
120 | 103.99
130 | 105.6
140 | 107.1
150 | 108.58
160 | 109.99
170 | 111.38
180 | 112.74
190 | 114.12
200 | 115.44
210 | 116.74
220 | 118.06
230 | 119.32
240 | 120.53
250 | 121.8
260 | 122.98
270 | 124.17
280 | 125.35
290 | 126.49
300 | 127.64
310 | 128.87
320 | 129.94
330 | 131.03
340 | 132.07
350 | 133.16
360 | 134.16
370 | 135.2
380 | 136.15
390 | 137.1
400 | 138.19
410 | 139.16
420 | 140.13
430 | 141.07
440 | 141.96
450 | 142.88
460 | 143.77
470 | 144.66
480 | 149.01
490 | 148.4
500 | 153.57
510 | 155.71
520 | 155.61
530 | 152.98
540 | 154.71
550 | 150.89
560 | 151.64
570 | 152.34
580 | 153.02
590 | 153.7
600 | 154.36
610 | 155
620 | 155.67
630 | 156.33
640 | 156.97
650 | 157.56
660 | 158.19
670 | 158.82
680 | 159.48
690 | 160.13
700 | 160.79
710 | 161.38
720 | 161.97
730 | 162.59
740 | 163.21
750 | 163.83
760 | 164.41
770 | 164.99
780 | 165.55
790 | 166.15
800 | 166.74
810 | 167.33
820 | 167.93
830 | 168.57
840 | 169.27
850 | 170
860 | 170.87
870 | 171.97
880 | 173.14
890 | 174.61
900 | 176.35
910 | 178.46
920 | 180.9
930 | 184.34
940 | 188.1
950 | 192.6
960 | 198
970 | 204.2
980 | 211.5
990 | 220.2
1000 | 230.6
%RAWDATA
#CV
50 | 2011.33
60 | 1827.08
70 | 1685.52
80 | 1572.85
90 | 1481.48
100 | 1407.67
110 | 1354.01
120 | 1324.06
130 | 1311.36
140 | 1306.4
150 | 1303.95
160 | 1302.6
170 | 1301.48
180 | 1300.72
190 | 1299.96
200 | 1299.36
210 | 1298.78
220 | 1298.29
230 | 1297.88
240 | 1297.37
250 | 1297.04
260 | 1296.73
270 | 1296.26
280 | 1296.1
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#