## summary
SENSOR TYPE: | Stereo
SERIAL NUMBER: | S00081
FDV(HPK) | 110
FDV (Tsukuba) | 105.6889
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open

## CV
%NEWTEST
SERIAL NUMBER: | S00081
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/3/2003
PASSED | YES
%Test_Rawdata
FILENAME: | CV_S00081.dat
#CV
TEMPERATURE(C): | 27.1
DEPLETION V | 105.6889
30 | 0.16995
150 | 0.84835
100 | 0.59813
500 | 0.57801
2.0786 | 0.0026892
9.2735 | 0.055429
19.7465 | 0.11011
28.8259 | 0.16406
38.5757 | 0.21942
48.3429 | 0.27456
58.1374 | 0.32928
67.9063 | 0.38428
77.7024 | 0.43852
87.4841 | 0.49017
97.2634 | 0.53178
107.0309 | 0.55619
116.7804 | 0.56727
127.101 | 0.57334
136.3577 | 0.57604
146.1084 | 0.57887
155.8989 | 0.57989
165.6854 | 0.58106
175.4607 | 0.58326
185.2108 | 0.58356
195.0384 | 0.5853
204.8046 | 0.58563
214.5699 | 0.58725
224.3597 | 0.58731
234.1556 | 0.58831
243.8535 | 0.58843
253.6775 | 0.58906
263.4516 | 0.58922
273.214 | 0.58964
282.9494 | 0.58986
292.7333 | 0.58989
302.5611 | 0.58981
312.3679 | 0.58985
322.1447 | 0.58993
331.9191 | 0.58933
341.7412 | 0.58954
351.5332 | 0.58837
361.306 | 0.58878
371.1111 | 0.58716
380.9185 | 0.58795
390.666 | 0.58608
400.4631 | 0.58632
410.2789 | 0.58603
420.0789 | 0.58465
429.8382 | 0.5844
439.6438 | 0.58445
449.4819 | 0.58298
459.2699 | 0.58281
469.0529 | 0.58138
478.8684 | 0.58128
488.7261 | 0.57977
496.7496 | 0.57889
506.5242 | 0.57635
516.4498 | 0.57643
526.183 | 0.57756
535.9942 | 0.57487
545.811 | 0.57524
555.6053 | 0.57326
565.3648 | 0.5737
575.1305 | 0.57106
585.0098 | 0.57326
594.7288 | 0.57056
604.9183 | 0.57174
614.2107 | 0.56996
624.1286 | 0.57008
633.889 | 0.56853
643.6247 | 0.56863
653.4376 | 0.56704
663.276 | 0.56726
673.0461 | 0.56733
682.8467 | 0.56599
692.6246 | 0.56624
702.417 | 0.56626
712.1957 | 0.56481
721.9908 | 0.56434
731.8035 | 0.56458
741.5837 | 0.56334
751.369 | 0.56462
761.1117 | 0.56343
770.8354 | 0.56355
780.7108 | 0.56238
790.6569 | 0.56226
800.3398 | 0.56113
810.112 | 0.56149
819.9076 | 0.56175
829.7407 | 0.5615
839.543 | 0.56006
849.3202 | 0.56062
859.1313 | 0.5595
868.9555 | 0.5605
878.6289 | 0.55927
888.4574 | 0.55952
898.3225 | 0.5588
908.1485 | 0.55919
917.9489 | 0.55809
927.7176 | 0.55833
937.549 | 0.55824
947.3489 | 0.55752
957.1816 | 0.55757
967.0059 | 0.55773
976.8294 | 0.55723

## IV
%NEWTEST
SERIAL NUMBER: | S00081
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/3/2003
PASSED | YES
%Test_Rawdata
FILENAME: | IV_S00081.dat
#IV
TEMPERATURE(C): | 27.1
2.0786 | 40
9.2735 | 116.5
19.7465 | 117.5
28.8259 | 119.5
38.5757 | 121.5
48.3429 | 123
58.1374 | 124.5
67.9063 | 126
77.7024 | 128
87.4841 | 129.5
97.2634 | 131
107.0309 | 133
116.7804 | 134
127.101 | 135
136.3577 | 136.5
146.1084 | 138
155.8989 | 139
165.6854 | 140
175.4607 | 141.5
185.2108 | 142.5
195.0384 | 143.5
204.8046 | 145
214.5699 | 146
224.3597 | 147
234.1556 | 148
243.8535 | 149
253.6775 | 150
263.4516 | 151
273.214 | 151.5
282.9494 | 152
292.7333 | 153
302.5611 | 154
312.3679 | 155
322.1447 | 155
331.9191 | 156
341.7412 | 157
351.5332 | 158
361.306 | 158
371.1111 | 159
380.9185 | 160
390.666 | 160
400.4631 | 161
410.2789 | 162
420.0789 | 162
429.8382 | 163
439.6438 | 163.5
449.4819 | 164
459.2699 | 164
469.0529 | 165
478.8684 | 165
488.7261 | 166
496.7496 | 166
506.5242 | 166
516.4498 | 167
526.183 | 167
535.9942 | 168
545.811 | 168
555.6053 | 168
565.3648 | 169
575.1305 | 169
585.0098 | 169
594.7288 | 169
604.9183 | 169
614.2107 | 169
624.1286 | 169.5
633.889 | 170
643.6247 | 170
653.4376 | 171
663.276 | 171
673.0461 | 171
682.8467 | 171
692.6246 | 171.5
702.417 | 172
712.1957 | 172
721.9908 | 172
731.8035 | 172
741.5837 | 172
751.369 | 173
761.1117 | 172
770.8354 | 172
780.7108 | 173
790.6569 | 173
800.3398 | 173.5
810.112 | 174
819.9076 | 174
829.7407 | 174
839.543 | 174
849.3202 | 174
859.1313 | 174
868.9555 | 175
878.6289 | 175
888.4574 | 175
898.3225 | 175
908.1485 | 175.5
917.9489 | 176
927.7176 | 176
937.549 | 176
947.3489 | 176
957.1816 | 176
967.0059 | 177
976.8294 | 177
#
#
#
#
#
#
#
#
#

## HPK
%ITEM
SERIAL NUMBER | S00081
%TEST
TEST DATE | 2003-01-01
PROBLEM | NO
PASSED | YES
%DATA
TEMPERATURE(C) | 25
I_LEAK500V(microA) | 0.14709
I_LEAK700V(microA) | 0.15442
Vdep(V) | 110
%DEFECT
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open
#
#
#
#
#
#
#
#
%RAWDATA
#IV
0 | 7.941
10 | 65.82
20 | 80.45
30 | 88.69
40 | 94.98
50 | 99.42
60 | 102.99
70 | 105.95
80 | 108.54
90 | 110.75
100 | 112.71
110 | 114.53
120 | 116.13
130 | 117.65
140 | 119.07
150 | 120.41
160 | 121.67
170 | 122.87
180 | 124.01
190 | 125.15
200 | 126.2
210 | 127.18
220 | 128.17
230 | 129.1
240 | 130
250 | 130.94
260 | 131.83
270 | 132.67
280 | 133.45
290 | 134.26
300 | 135.05
310 | 135.81
320 | 136.54
330 | 137.24
340 | 137.95
350 | 138.63
360 | 139.3
370 | 139.97
380 | 140.7
390 | 141.31
400 | 141.91
410 | 142.45
420 | 143
430 | 143.57
440 | 144.11
450 | 144.5
460 | 145.05
470 | 145.67
480 | 146.15
490 | 146.6
500 | 147.09
510 | 147.52
520 | 147.94
530 | 148.42
540 | 148.94
550 | 152.48
560 | 149.95
570 | 157.04
580 | 159.01
590 | 154.08
600 | 154.85
610 | 154.63
620 | 151.85
630 | 152.15
640 | 152.56
650 | 152.89
660 | 153.22
670 | 153.52
680 | 153.88
690 | 154.19
700 | 154.42
710 | 154.8
720 | 155.12
730 | 155.38
740 | 155.66
750 | 155.97
760 | 156.24
770 | 156.49
780 | 156.82
790 | 157.09
800 | 157.28
810 | 157.6
820 | 157.87
830 | 158.11
840 | 158.31
850 | 158.58
860 | 158.83
870 | 159.08
880 | 159.36
890 | 159.57
900 | 159.81
910 | 160.02
920 | 160.32
930 | 160.59
940 | 160.75
950 | 161.02
960 | 161.22
970 | 161.43
980 | 161.69
990 | 161.95
1000 | 162.2
%RAWDATA
#CV
50 | 2010.39
60 | 1826.58
70 | 1685.59
80 | 1574.21
90 | 1487.74
100 | 1429.83
110 | 1400.64
120 | 1388.81
130 | 1383.83
140 | 1381.5
150 | 1380.16
160 | 1378.95
170 | 1378.1
180 | 1377.31
190 | 1376.71
200 | 1376.17
210 | 1375.61
220 | 1375.13
230 | 1374.71
240 | 1373.89
250 | 1373.91
260 | 1373.79
270 | 1373.4
280 | 1373.11
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#