## summary
SENSOR TYPE: | Stereo
SERIAL NUMBER: | S00083
FDV(HPK) | 110
FDV (Tsukuba) | 105.1569
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open

## CV
%NEWTEST
SERIAL NUMBER: | S00083
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/3/2003
PASSED | YES
%Test_Rawdata
FILENAME: | CV_S00083.dat
#CV
TEMPERATURE(C): | 27.1
DEPLETION V | 105.1569
30 | 0.16002
150 | 0.80858
100 | 0.5662
500 | 0.56725
2.0876 | 0.0021725
9.2129 | 0.049979
19.7453 | 0.1029
28.8499 | 0.15402
38.5432 | 0.20751
48.3747 | 0.26036
58.1448 | 0.31235
67.9055 | 0.36513
77.6766 | 0.41638
87.9037 | 0.46658
97.2557 | 0.50654
107.0026 | 0.53105
116.7945 | 0.54256
127.0816 | 0.54708
137.1532 | 0.54855
147.2652 | 0.55005
155.89 | 0.55154
165.6639 | 0.55294
175.4456 | 0.55471
185.2056 | 0.55511
195.0086 | 0.55673
204.7807 | 0.55721
215.0851 | 0.55742
226.3405 | 0.55817
234.7078 | 0.55956
243.928 | 0.56042
254.095 | 0.56184
263.4469 | 0.56238
273.2508 | 0.56251
283.0012 | 0.56369
292.7212 | 0.56422
302.5478 | 0.56434
312.3421 | 0.56552
322.0518 | 0.56588
331.8729 | 0.56646
341.6565 | 0.56715
351.451 | 0.56747
361.2905 | 0.56792
371.0759 | 0.56808
380.8508 | 0.56861
392.246 | 0.5689
400.5561 | 0.56929
410.2411 | 0.56991
420.0492 | 0.5701
429.8196 | 0.57008
439.6086 | 0.57047
449.4023 | 0.57059
459.9069 | 0.57096
470.6453 | 0.57106
480.4068 | 0.57136
488.8439 | 0.57123
496.8661 | 0.57125
506.6358 | 0.5713
516.4075 | 0.57104
526.0692 | 0.57141
535.9279 | 0.57127
545.778 | 0.57131
555.5813 | 0.57073
565.3093 | 0.57123
575.1005 | 0.57117
584.9102 | 0.57066
594.6997 | 0.57097
604.4898 | 0.5706
617.0146 | 0.57134
625.1714 | 0.57075
633.8601 | 0.57056
643.6552 | 0.56979
653.4101 | 0.57041
663.2435 | 0.56954
673.0247 | 0.56969
682.8307 | 0.56993
692.6244 | 0.56932
702.3524 | 0.56982
712.1782 | 0.5687
721.9746 | 0.56897
731.8 | 0.56888
741.9179 | 0.56885
753.1203 | 0.56894
761.273 | 0.56732
770.9473 | 0.56761
780.7485 | 0.5676
790.5296 | 0.56685
800.3329 | 0.56704
810.0836 | 0.56739
819.8795 | 0.56689
829.6963 | 0.56699
839.5186 | 0.56657
849.2969 | 0.56631
859.0798 | 0.56571
868.9014 | 0.56583
878.7221 | 0.56586
888.5106 | 0.56551
898.2721 | 0.5652
908.1215 | 0.56523
918.1721 | 0.56539
927.727 | 0.5651
939.3513 | 0.56496
947.3833 | 0.56453
957.1879 | 0.56487
966.9547 | 0.56438
976.8537 | 0.56424

## IV
%NEWTEST
SERIAL NUMBER: | S00083
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/3/2003
PASSED | YES
%Test_Rawdata
FILENAME: | IV_S00083.dat
#IV
TEMPERATURE(C): | 27.1
2.0876 | 41
9.2129 | 124.5
19.7453 | 128.5
28.8499 | 132
38.5432 | 135
48.3747 | 138
58.1448 | 141
67.9055 | 143.5
77.6766 | 146.5
87.9037 | 149
97.2557 | 151.5
107.0026 | 154
116.7945 | 156
127.0816 | 158
137.1532 | 160.5
147.2652 | 162
155.89 | 163.5
165.6639 | 165.5
175.4456 | 167
185.2056 | 169.5
195.0086 | 171.5
204.7807 | 173
215.0851 | 175
226.3405 | 176
234.7078 | 174
243.928 | 178
254.095 | 181.5
263.4469 | 183.5
273.2508 | 185.5
283.0012 | 187
292.7212 | 188
302.5478 | 189.5
312.3421 | 191
322.0518 | 192
331.8729 | 194
341.6565 | 196
351.451 | 197
361.2905 | 198
371.0759 | 199
380.8508 | 199
392.246 | 200
400.5561 | 199
410.2411 | 200
420.0492 | 200.5
429.8196 | 201
439.6086 | 202
449.4023 | 202
459.9069 | 202
470.6453 | 201
480.4068 | 197
488.8439 | 200.5
496.8661 | 202.5
506.6358 | 203
516.4075 | 204
526.0692 | 204
535.9279 | 204
545.778 | 204
555.5813 | 205
565.3093 | 205
575.1005 | 205
584.9102 | 206
594.6997 | 206
604.4898 | 206
617.0146 | 204
625.1714 | 199.5
633.8601 | 203
643.6552 | 205.5
653.4101 | 206
663.2435 | 207
673.0247 | 207
682.8307 | 207
692.6244 | 207
702.3524 | 207
712.1782 | 207
721.9746 | 208
731.8 | 208
741.9179 | 208
753.1203 | 204
761.273 | 202
770.9473 | 205.5
780.7485 | 208
790.5296 | 209
800.3329 | 209
810.0836 | 209
819.8795 | 210
829.6963 | 210
839.5186 | 210
849.2969 | 210
859.0798 | 210
868.9014 | 210.5
878.7221 | 211
888.5106 | 211
898.2721 | 211
908.1215 | 211
918.1721 | 211
927.727 | 206
939.3513 | 207
947.3833 | 207.5
957.1879 | 210
966.9547 | 209
976.8537 | 210.5
#
#
#
#
#
#
#
#
#

## HPK
%ITEM
SERIAL NUMBER | S00083
%TEST
TEST DATE | 2003-01-01
PROBLEM | NO
PASSED | YES
%DATA
TEMPERATURE(C) | 25
I_LEAK500V(microA) | 0.1934
I_LEAK700V(microA) | 0.1932
Vdep(V) | 110
%DEFECT
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open
#
#
#
#
#
#
#
#
%RAWDATA
#IV
0 | 7.977
10 | 79.76
20 | 97.77
30 | 108.36
40 | 116.21
50 | 121.8
60 | 126.32
70 | 130.1
80 | 133.34
90 | 136.14
100 | 138.65
110 | 140.95
120 | 142.97
130 | 144.93
140 | 146.7
150 | 148.4
160 | 150.01
170 | 151.51
180 | 152.97
190 | 154.4
200 | 155.77
210 | 157.09
220 | 158.36
230 | 159.61
240 | 160.81
250 | 162.03
260 | 163.21
270 | 164.3
280 | 165.39
290 | 166.45
300 | 167.5
310 | 168.53
320 | 169.56
330 | 170.53
340 | 171.52
350 | 172.49
360 | 173.43
370 | 174.55
380 | 175.48
390 | 176.39
400 | 177.32
410 | 178.24
420 | 179.09
430 | 179.93
440 | 180.6
450 | 181.65
460 | 182.4
470 | 186.31
480 | 187.8
490 | 191.7
500 | 193.4
510 | 186.7
520 | 189.8
530 | 189.7
540 | 187.2
550 | 187.7
560 | 187.9
570 | 188.4
580 | 188.8
590 | 189.2
600 | 189.6
610 | 190.1
620 | 190.5
630 | 190.8
640 | 191.2
650 | 191.6
660 | 191.9
670 | 192.3
680 | 192.6
690 | 193
700 | 193.2
710 | 193.6
720 | 193.9
730 | 194.1
740 | 194.4
750 | 194.7
760 | 193.5
770 | 193.6
780 | 193.8
790 | 194.2
800 | 194.4
810 | 194.6
820 | 194.9
830 | 195.1
840 | 195.3
850 | 195.6
860 | 195.9
870 | 196.1
880 | 196.3
890 | 196.6
900 | 196.8
910 | 197
920 | 197.3
930 | 197.5
940 | 197.8
950 | 198
960 | 198.2
970 | 198.5
980 | 198.7
990 | 199
1000 | 199.2
%RAWDATA
#CV
50 | 2001.65
60 | 1819.12
70 | 1679.04
80 | 1568.46
90 | 1482.42
100 | 1424.6
110 | 1395.49
120 | 1384.05
130 | 1379.77
140 | 1377.51
150 | 1376.25
160 | 1375.24
170 | 1374.32
180 | 1373.53
190 | 1372.94
200 | 1372.38
210 | 1371.78
220 | 1371.3
230 | 1370.98
240 | 1370.53
250 | 1370.09
260 | 1369.95
270 | 1369.62
280 | 1369.33
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#