## summary
SENSOR TYPE: | Stereo
SERIAL NUMBER: | S00084
FDV(HPK) | 120
FDV (Tsukuba) | 108.1482
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open

## CV
%NEWTEST
SERIAL NUMBER: | S00084
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/3/2003
PASSED | YES
%Test_Rawdata
FILENAME: | CV_S00084.dat
#CV
TEMPERATURE(C): | 27.1
DEPLETION V | 108.1482
30 | 0.16374
150 | 0.82649
100 | 0.59567
500 | 0.57997
2.0841 | 0.0024027
9.2661 | 0.053208
19.738 | 0.10478
28.8326 | 0.15872
38.5949 | 0.21248
48.3548 | 0.26539
58.1413 | 0.31964
67.9272 | 0.37284
77.7015 | 0.42642
87.4779 | 0.47739
97.2074 | 0.52075
106.9914 | 0.54716
116.7604 | 0.56071
127.1067 | 0.56471
136.3385 | 0.56922
146.1364 | 0.57067
155.8924 | 0.57219
165.7014 | 0.57484
175.4682 | 0.57571
185.2105 | 0.57802
195.0286 | 0.57882
204.7805 | 0.58019
214.5816 | 0.58095
224.3638 | 0.58257
234.137 | 0.5831
243.9415 | 0.58344
253.6763 | 0.58497
263.4818 | 0.58507
273.2636 | 0.58636
283.027 | 0.58669
292.7988 | 0.58731
302.5676 | 0.58769
312.3708 | 0.58798
322.1445 | 0.58814
331.9395 | 0.58846
341.7128 | 0.58872
351.5231 | 0.58918
361.3177 | 0.5888
371.1182 | 0.58899
380.9121 | 0.5885
390.6931 | 0.58897
400.4629 | 0.58856
410.2774 | 0.58765
420.0838 | 0.58797
429.8697 | 0.58726
439.6505 | 0.58675
449.4523 | 0.58672
459.2625 | 0.58667
469.3283 | 0.58603
480.5443 | 0.58613
490.4165 | 0.58503
496.8841 | 0.5836
506.6945 | 0.58176
516.473 | 0.58213
526.2527 | 0.58215
536.4989 | 0.58019
545.8314 | 0.58015
555.6153 | 0.57839
565.3737 | 0.57907
575.164 | 0.57783
586.1361 | 0.57766
594.7644 | 0.57708
604.5398 | 0.57492
614.2412 | 0.57659
624.1429 | 0.57457
633.9021 | 0.57439
643.6653 | 0.57293
653.467 | 0.57322
663.2692 | 0.57319
673.0952 | 0.57126
682.8571 | 0.57277
692.6258 | 0.57079
702.36 | 0.5714
712.107 | 0.56996
723.4544 | 0.57116
731.9208 | 0.57029
741.6053 | 0.56966
751.3449 | 0.56752
761.181 | 0.56804
770.9713 | 0.5679
780.7674 | 0.56702
790.5695 | 0.56686
800.3759 | 0.56723
810.1354 | 0.56623
819.9273 | 0.56628
829.7375 | 0.56482
839.5413 | 0.56503
849.3473 | 0.5653
859.1046 | 0.56432
868.9588 | 0.56432
878.7313 | 0.56435
888.6196 | 0.56395
898.3232 | 0.56346
908.1655 | 0.56332
917.9371 | 0.56268
927.7409 | 0.56253
937.5382 | 0.56165
947.3685 | 0.56202
957.7746 | 0.56237
969.1408 | 0.56237
976.9137 | 0.56151

## IV
%NEWTEST
SERIAL NUMBER: | S00084
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/3/2003
PASSED | YES
%Test_Rawdata
FILENAME: | IV_S00084.dat
#IV
TEMPERATURE(C): | 27.1
2.0841 | 46
9.2661 | 126.5
19.738 | 136.5
28.8326 | 148
38.5949 | 155.5
48.3548 | 160.5
58.1413 | 164.5
67.9272 | 168
77.7015 | 171.5
87.4779 | 174
97.2074 | 177
106.9914 | 179
116.7604 | 182
127.1067 | 184
136.3385 | 186.5
146.1364 | 188.5
155.8924 | 190.5
165.7014 | 192.5
175.4682 | 194
185.2105 | 196
195.0286 | 198
204.7805 | 200
214.5816 | 201.5
224.3638 | 203
234.137 | 205
243.9415 | 207
253.6763 | 208.5
263.4818 | 210
273.2636 | 212
283.027 | 214.5
292.7988 | 216
302.5676 | 218
312.3708 | 219.5
322.1445 | 220.5
331.9395 | 221.5
341.7128 | 222.5
351.5231 | 223
361.3177 | 224
371.1182 | 225
380.9121 | 225.5
390.6931 | 226
400.4629 | 226
410.2774 | 227
420.0838 | 227
429.8697 | 228
439.6505 | 228.5
449.4523 | 229
459.2625 | 229
469.3283 | 229
480.5443 | 225
490.4165 | 224.5
496.8841 | 226.5
506.6945 | 229
516.473 | 230
526.2527 | 231
536.4989 | 231
545.8314 | 231
555.6153 | 232
565.3737 | 232
575.164 | 232.5
586.1361 | 232
594.7644 | 232
604.5398 | 233
614.2412 | 233
624.1429 | 233
633.9021 | 234
643.6653 | 234
653.467 | 234.5
663.2692 | 235
673.0952 | 235
682.8571 | 231
692.6258 | 233
702.36 | 234.5
712.107 | 235.5
723.4544 | 232
731.9208 | 233
741.6053 | 234.5
751.3449 | 236
761.181 | 237
770.9713 | 237.5
780.7674 | 238
790.5695 | 238
800.3759 | 238
810.1354 | 238
819.9273 | 238
829.7375 | 239
839.5413 | 239
849.3473 | 239
859.1046 | 239.5
868.9588 | 240
878.7313 | 240
888.6196 | 240
898.3232 | 240
908.1655 | 240
917.9371 | 241
927.7409 | 241
937.5382 | 241
947.3685 | 242
957.7746 | 242
969.1408 | 236
976.9137 | 237.5
#
#
#
#
#
#
#
#
#

## HPK
%ITEM
SERIAL NUMBER | S00084
%TEST
TEST DATE | 2003-01-01
PROBLEM | NO
PASSED | YES
%DATA
TEMPERATURE(C) | 25
I_LEAK500V(microA) | 0.2115
I_LEAK700V(microA) | 0.221
Vdep(V) | 120
%DEFECT
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open
#
#
#
#
#
#
#
#
%RAWDATA
#IV
0 | 6.059
10 | 95.98
20 | 117
30 | 128.34
40 | 136.82
50 | 142.83
60 | 147.62
70 | 151.56
80 | 154.91
90 | 157.79
100 | 160.37
110 | 162.68
120 | 164.79
130 | 166.87
140 | 168.83
150 | 170.7
160 | 172.51
170 | 174.24
180 | 175.94
190 | 177.6
200 | 179.11
210 | 180.6
220 | 182
230 | 183.4
240 | 184.8
250 | 186.2
260 | 187.5
270 | 188.8
280 | 190.1
290 | 191.4
300 | 192.5
310 | 193.8
320 | 194.9
330 | 196.1
340 | 197.1
350 | 198.2
360 | 199.3
370 | 200.4
380 | 201.5
390 | 202.5
400 | 203.5
410 | 204.4
420 | 205.4
430 | 206.3
440 | 207
450 | 207.8
460 | 208.8
470 | 209.5
480 | 210.2
490 | 210.9
500 | 211.5
510 | 212.2
520 | 212.8
530 | 213.4
540 | 213.9
550 | 217.1
560 | 221
570 | 223.4
580 | 224.2
590 | 219.5
600 | 220.7
610 | 220.6
620 | 217.8
630 | 218.3
640 | 218.7
650 | 219.1
660 | 219.5
670 | 219.9
680 | 220.3
690 | 220.7
700 | 221
710 | 221.5
720 | 221.8
730 | 222.2
740 | 222.5
750 | 222.9
760 | 223.2
770 | 223.6
780 | 224
790 | 224.2
800 | 224.6
810 | 224.9
820 | 225.2
830 | 225.5
840 | 225.8
850 | 226.2
860 | 226.5
870 | 226.8
880 | 227.1
890 | 227.5
900 | 227.7
910 | 228
920 | 228.3
930 | 228.7
940 | 228.9
950 | 229.2
960 | 229.5
970 | 229.9
980 | 230.2
990 | 230.5
1000 | 230.8
%RAWDATA
#CV
50 | 2013.15
60 | 1829.42
70 | 1688.41
80 | 1576.83
90 | 1489.06
100 | 1427.5
110 | 1396.1
120 | 1383.77
130 | 1379.2
140 | 1376.98
150 | 1375.48
160 | 1374.61
170 | 1373.64
180 | 1372.97
190 | 1372.23
200 | 1371.73
210 | 1371.25
220 | 1370.86
230 | 1370.34
240 | 1370.02
250 | 1369.5
260 | 1369.35
270 | 1368.96
280 | 1368.68
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#