## summary
SENSOR TYPE: | Stereo
SERIAL NUMBER: | S00093
FDV(HPK) | 110
FDV (Tsukuba) | 105.4992
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open

## CV
%NEWTEST
SERIAL NUMBER: | S00093
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/3/2003
PASSED | YES
%Test_Rawdata
FILENAME: | CV_S00093.dat
#CV
TEMPERATURE(C): | 27.2
DEPLETION V | 105.4992
30 | 0.16689
150 | 0.84271
100 | 0.5923
500 | 0.57692
2.0768 | 0.0025472
9.256 | 0.054351
19.761 | 0.10682
28.8156 | 0.16179
38.609 | 0.21672
48.3532 | 0.27064
58.2165 | 0.32569
67.9262 | 0.3807
77.6879 | 0.43449
87.4812 | 0.48551
97.2637 | 0.52572
107.0226 | 0.54927
116.7975 | 0.55911
127.289 | 0.56373
137.8877 | 0.56534
147.8637 | 0.5675
155.9455 | 0.57152
165.6893 | 0.57229
175.4698 | 0.57331
185.2446 | 0.57539
195.0586 | 0.57587
205.3642 | 0.57695
214.5899 | 0.57983
224.3802 | 0.57962
234.1645 | 0.58046
243.9586 | 0.58134
253.7082 | 0.5821
263.4954 | 0.58296
273.2912 | 0.58341
283.0535 | 0.58371
294.5271 | 0.58402
302.5988 | 0.5848
314.1599 | 0.58474
322.9587 | 0.58523
333.3839 | 0.58552
341.7791 | 0.58564
351.5567 | 0.58541
361.3209 | 0.58542
371.1441 | 0.58579
381.4041 | 0.58571
390.7145 | 0.5853
400.5025 | 0.58472
410.2935 | 0.58487
420.1139 | 0.58376
429.9051 | 0.58429
439.6964 | 0.5828
449.5567 | 0.58313
460.8988 | 0.58354
470.5528 | 0.58245
478.9424 | 0.58182
488.7326 | 0.5811
496.9214 | 0.57999
506.7125 | 0.57869
516.5113 | 0.5794
526.2951 | 0.5786
536.0042 | 0.57781
545.7709 | 0.57726
555.6369 | 0.57563
565.4213 | 0.57432
575.1965 | 0.57402
585.0102 | 0.57257
597.2048 | 0.57484
604.6024 | 0.57284
614.3991 | 0.57201
624.0929 | 0.57075
633.9426 | 0.57116
643.7174 | 0.57157
653.5197 | 0.56897
663.3214 | 0.56955
673.0657 | 0.56872
682.8847 | 0.5687
692.6617 | 0.56734
702.4818 | 0.56764
712.5462 | 0.56799
722.5292 | 0.56758
731.9478 | 0.56562
741.6604 | 0.56687
751.4046 | 0.56509
761.1358 | 0.56581
771.015 | 0.56484
780.7141 | 0.56466
791.2762 | 0.56494
800.4298 | 0.56425
811.9529 | 0.56414
819.9895 | 0.56358
829.9624 | 0.56355
839.6195 | 0.56238
849.7609 | 0.5631
861.231 | 0.56312
868.9705 | 0.56259
878.8237 | 0.56211
888.6237 | 0.5608
898.4242 | 0.56108
908.5902 | 0.56112
918.0225 | 0.5596
929.3174 | 0.56056
937.4748 | 0.56011
947.4466 | 0.55954
957.2571 | 0.55872
966.9012 | 0.55898
976.8688 | 0.55858

## IV
%NEWTEST
SERIAL NUMBER: | S00093
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/3/2003
PASSED | YES
%Test_Rawdata
FILENAME: | IV_S00093.dat
#IV
TEMPERATURE(C): | 27.2
2.0768 | 41
9.256 | 118.5
19.761 | 122.5
28.8156 | 127
38.609 | 130
48.3532 | 132.5
58.2165 | 135
67.9262 | 137
77.6879 | 138
87.4812 | 140.5
97.2637 | 143
107.0226 | 144.5
116.7975 | 146
127.289 | 148
137.8877 | 147
147.8637 | 148
155.9455 | 150.5
165.6893 | 153.5
175.4698 | 156
185.2446 | 157.5
195.0586 | 159
205.3642 | 160
214.5899 | 161
224.3802 | 162
234.1645 | 163.5
243.9586 | 165
253.7082 | 166
263.4954 | 167
273.2912 | 168
283.0535 | 169
294.5271 | 170
302.5988 | 170
314.1599 | 172
322.9587 | 172
333.3839 | 173
341.7791 | 174.5
351.5567 | 176
361.3209 | 177
371.1441 | 178
381.4041 | 178.5
390.7145 | 179
400.5025 | 179
410.2935 | 180
420.1139 | 181
429.9051 | 182
439.6964 | 183
449.5567 | 183
460.8988 | 180
470.5528 | 179.5
478.9424 | 182
488.7326 | 184
496.9214 | 185
506.7125 | 185
516.5113 | 186
526.2951 | 186
536.0042 | 186
545.7709 | 186
555.6369 | 187
565.4213 | 187.5
575.1965 | 188
585.0102 | 188
597.2048 | 186
604.6024 | 182
614.3991 | 185
624.0929 | 187.5
633.9426 | 188.5
643.7174 | 189
653.5197 | 189
663.3214 | 189
673.0657 | 190
682.8847 | 190
692.6617 | 190
702.4818 | 190
712.5462 | 190.5
722.5292 | 183.5
731.9478 | 187
741.6604 | 190
751.4046 | 190
761.1358 | 190.5
771.015 | 190.5
780.7141 | 190.5
791.2762 | 191
800.4298 | 191
811.9529 | 191
819.9895 | 191
829.9624 | 192
839.6195 | 192
849.7609 | 193
861.231 | 187
868.9705 | 189
878.8237 | 191
888.6237 | 192
898.4242 | 193
908.5902 | 193
918.0225 | 193
929.3174 | 193
937.4748 | 193
947.4466 | 193
957.2571 | 194
966.9012 | 194
976.8688 | 195
#
#
#
#
#
#
#
#
#

## HPK
%ITEM
SERIAL NUMBER | S00093
%TEST
TEST DATE | 2003-01-01
PROBLEM | NO
PASSED | YES
%DATA
TEMPERATURE(C) | 25
I_LEAK500V(microA) | 0.16057
I_LEAK700V(microA) | 0.17055
Vdep(V) | 110
%DEFECT
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open
#
#
#
#
#
#
#
#
%RAWDATA
#IV
0 | 6.161
10 | 69.65
20 | 85.33
30 | 94.66
40 | 101.55
50 | 106.37
60 | 110.2
70 | 113.43
80 | 116.18
90 | 118.52
100 | 120.57
110 | 122.45
120 | 124.18
130 | 125.85
140 | 127.37
150 | 128.87
160 | 130.29
170 | 131.64
180 | 132.94
190 | 134.23
200 | 135.43
210 | 136.58
220 | 137.71
230 | 138.79
240 | 139.85
250 | 140.88
260 | 141.92
270 | 142.96
280 | 143.9
290 | 144.85
300 | 145.77
310 | 146.69
320 | 147.57
330 | 148.43
340 | 149.29
350 | 150.18
360 | 151.01
370 | 151.84
380 | 152.59
390 | 153.34
400 | 154.07
410 | 154.8
420 | 155.48
430 | 156.06
440 | 156.84
450 | 157.58
460 | 158.2
470 | 158.81
480 | 159.43
490 | 160
500 | 160.57
510 | 161.23
520 | 161.96
530 | 165.3
540 | 167.03
550 | 170.87
560 | 172.24
570 | 166.21
580 | 168.61
590 | 168.62
600 | 165.89
610 | 166.38
620 | 166.89
630 | 167.39
640 | 167.83
650 | 168.31
660 | 168.8
670 | 169.22
680 | 169.62
690 | 170.14
700 | 170.55
710 | 171.01
720 | 171.37
730 | 171.78
740 | 172.22
750 | 172.57
760 | 172.96
770 | 173.37
780 | 173.66
790 | 173.99
800 | 174.3
810 | 174.65
820 | 175
830 | 175.27
840 | 175.59
850 | 175.96
860 | 176.17
870 | 176.47
880 | 176.83
890 | 177.07
900 | 177.34
910 | 177.64
920 | 177.89
930 | 178.13
940 | 178.42
950 | 178.71
960 | 178.93
970 | 179.23
980 | 179.5
990 | 179.78
1000 | 180.03
%RAWDATA
#CV
50 | 2000.65
60 | 1817.82
70 | 1677.56
80 | 1566.93
90 | 1481.27
100 | 1425
110 | 1398.43
120 | 1387.95
130 | 1383.62
140 | 1381.48
150 | 1380.1
160 | 1379.22
170 | 1378.19
180 | 1377.49
190 | 1376.9
200 | 1376.32
210 | 1375.92
220 | 1375.47
230 | 1375.05
240 | 1374.62
250 | 1374.29
260 | 1373.9
270 | 1373.68
280 | 1373.37
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#