## summary
SENSOR TYPE: | Stereo
SERIAL NUMBER: | S00099
FDV(HPK) | 120
FDV (Tsukuba) | 107.8534
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open

## CV
%NEWTEST
SERIAL NUMBER: | S00099
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/3/2003
PASSED | YES
%Test_Rawdata
FILENAME: | CV_S00099.dat
#CV
TEMPERATURE(C): | 27.2
DEPLETION V | 107.8534
30 | 0.16446
150 | 0.82353
100 | 0.59234
500 | 0.57754
2.0767 | 0.0026632
9.2466 | 0.054065
19.7564 | 0.10556
28.8293 | 0.15953
38.6028 | 0.21312
48.3426 | 0.26569
58.1294 | 0.31952
67.9312 | 0.37271
77.6796 | 0.42509
87.4688 | 0.47622
97.2617 | 0.51969
107.0777 | 0.54626
116.7977 | 0.55837
127.1062 | 0.56246
136.3641 | 0.566
146.1262 | 0.56749
155.9043 | 0.57052
165.6814 | 0.57158
175.4504 | 0.57382
185.2393 | 0.57418
195.0406 | 0.57614
204.8095 | 0.57678
214.5803 | 0.5773
224.3581 | 0.57908
234.165 | 0.57919
243.951 | 0.58023
253.6644 | 0.58154
263.4872 | 0.58198
273.2645 | 0.58318
283.0401 | 0.58358
292.8609 | 0.58433
302.5967 | 0.58473
312.3737 | 0.58479
322.1666 | 0.58552
331.8843 | 0.5855
341.6396 | 0.58594
351.5887 | 0.58613
361.3836 | 0.58589
371.1294 | 0.58599
380.8265 | 0.58622
390.6927 | 0.58593
400.4749 | 0.58595
410.2503 | 0.585
420.0869 | 0.5854
429.8638 | 0.58481
439.6545 | 0.58506
449.4231 | 0.58412
459.2506 | 0.58432
469.0708 | 0.58297
478.8927 | 0.58313
490.7797 | 0.58335
496.872 | 0.58034
507.1402 | 0.58072
516.464 | 0.57808
526.5843 | 0.57908
536.1625 | 0.57932
545.83 | 0.57755
555.6186 | 0.57753
565.3997 | 0.57716
575.177 | 0.57656
584.9815 | 0.57656
594.778 | 0.57457
604.552 | 0.57497
614.3224 | 0.57297
624.1192 | 0.57301
633.9197 | 0.57442
643.6742 | 0.57214
653.4586 | 0.57116
663.2039 | 0.56982
672.9224 | 0.57019
682.8512 | 0.57043
692.6081 | 0.56949
702.4201 | 0.56957
712.0886 | 0.56815
722.0278 | 0.56816
731.821 | 0.5677
741.6053 | 0.56759
751.3723 | 0.56754
761.1763 | 0.56633
771.0386 | 0.56608
780.7485 | 0.56554
790.6215 | 0.56564
800.3589 | 0.56468
810.1251 | 0.56482
819.9086 | 0.5635
829.8358 | 0.56421
839.5551 | 0.5631
849.3295 | 0.56329
859.1342 | 0.56322
868.986 | 0.56222
878.7664 | 0.56261
888.5345 | 0.56163
898.352 | 0.56191
908.1627 | 0.56131
917.9622 | 0.56069
927.7319 | 0.56097
937.5351 | 0.56016
947.3737 | 0.56053
957.1803 | 0.56026
966.982 | 0.55974
976.863 | 0.55959

## IV
%NEWTEST
SERIAL NUMBER: | S00099
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/3/2003
PASSED | YES
%Test_Rawdata
FILENAME: | IV_S00099.dat
#IV
TEMPERATURE(C): | 27.2
2.0767 | 45
9.2466 | 117.5
19.7564 | 125.5
28.8293 | 135.5
38.6028 | 142.5
48.3426 | 148
58.1294 | 151.5
67.9312 | 155
77.6796 | 157.5
87.4688 | 160.5
97.2617 | 162
107.0777 | 164
116.7977 | 166.5
127.1062 | 168
136.3641 | 170
146.1262 | 172
155.9043 | 174
165.6814 | 176
175.4504 | 177.5
185.2393 | 179.5
195.0406 | 182
204.8095 | 183.5
214.5803 | 185.5
224.3581 | 187.5
234.165 | 189
243.951 | 191
253.6644 | 192
263.4872 | 193
273.2645 | 194
283.0401 | 195
292.8609 | 195
302.5967 | 196
312.3737 | 196
322.1666 | 197
331.8843 | 197
341.6396 | 198
351.5887 | 198
361.3836 | 198
371.1294 | 199
380.8265 | 199
390.6927 | 199
400.4749 | 199
410.2503 | 199
420.0869 | 200
429.8638 | 200
439.6545 | 200
449.4231 | 201
459.2506 | 201
469.0708 | 201
478.8927 | 201
490.7797 | 202
496.872 | 200
507.1402 | 201
516.464 | 201.5
526.5843 | 202
536.1625 | 202
545.83 | 202
555.6186 | 202.5
565.3997 | 203
575.177 | 203
584.9815 | 203
594.778 | 203
604.552 | 203.5
614.3224 | 204
624.1192 | 204
633.9197 | 204
643.6742 | 203
653.4586 | 203
663.2039 | 204
672.9224 | 204
682.8512 | 205
692.6081 | 205
702.4201 | 205
712.0886 | 205
722.0278 | 205
731.821 | 206
741.6053 | 206
751.3723 | 206
761.1763 | 206
771.0386 | 206
780.7485 | 206
790.6215 | 207
800.3589 | 207
810.1251 | 207
819.9086 | 207
829.8358 | 207
839.5551 | 207.5
849.3295 | 208
859.1342 | 208
868.986 | 208
878.7664 | 208
888.5345 | 208
898.352 | 208
908.1627 | 209
917.9622 | 209
927.7319 | 209
937.5351 | 209
947.3737 | 209
957.1803 | 209
966.982 | 209
976.863 | 210
#
#
#
#
#
#
#
#
#

## HPK
%ITEM
SERIAL NUMBER | S00099
%TEST
TEST DATE | 2003-01-01
PROBLEM | NO
PASSED | YES
%DATA
TEMPERATURE(C) | 25
I_LEAK500V(microA) | 0.17052
I_LEAK700V(microA) | 0.17909
Vdep(V) | 120
%DEFECT
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open
#
#
#
#
#
#
#
#
%RAWDATA
#IV
0 | 6.341
10 | 71.5
20 | 87.75
30 | 97.79
40 | 105.19
50 | 110.37
60 | 114.58
70 | 118.08
80 | 121.03
90 | 123.63
100 | 125.95
110 | 128.08
120 | 130.05
130 | 131.87
140 | 133.61
150 | 135.27
160 | 136.82
170 | 138.32
180 | 139.73
190 | 141.15
200 | 142.51
210 | 143.78
220 | 144.99
230 | 146.18
240 | 147.33
250 | 148.45
260 | 149.52
270 | 150.56
280 | 151.58
290 | 152.6
300 | 153.62
310 | 154.63
320 | 155.54
330 | 156.49
340 | 157.43
350 | 158.35
360 | 159.23
370 | 160.15
380 | 161.03
390 | 161.91
400 | 162.79
410 | 163.65
420 | 164.5
430 | 165.47
440 | 166.24
450 | 167.06
460 | 167.83
470 | 168.55
480 | 169.26
490 | 169.84
500 | 170.52
510 | 171.27
520 | 171.86
530 | 172.45
540 | 172.98
550 | 173.48
560 | 173.99
570 | 174.49
580 | 175
590 | 175.2
600 | 178.13
610 | 183.41
620 | 184.9
630 | 185.2
640 | 180.79
650 | 182.1
660 | 178.3
670 | 178.2
680 | 178.56
690 | 178.8
700 | 179.09
710 | 179.37
720 | 179.67
730 | 179.9
740 | 180
750 | 180.43
760 | 180.5
770 | 180.9
780 | 180.9
790 | 181.34
800 | 181.4
810 | 181.84
820 | 181.9
830 | 182.22
840 | 182.3
850 | 182.62
860 | 182.7
870 | 183.11
880 | 183.1
890 | 183.45
900 | 183.5
910 | 183.8
920 | 184.18
930 | 184.2
940 | 184.4
950 | 184.6
960 | 184.9
970 | 185.17
980 | 185.3
990 | 185.5
1000 | 185.8
%RAWDATA
#CV
50 | 2023.21
60 | 1838.81
70 | 1697.3
80 | 1585.25
90 | 1496.4
100 | 1432.42
110 | 1398.98
120 | 1386.45
130 | 1381.82
140 | 1379.78
150 | 1378.33
160 | 1377.17
170 | 1376.27
180 | 1375.57
190 | 1374.92
200 | 1374.39
210 | 1373.91
220 | 1373.42
230 | 1373.08
240 | 1372.56
250 | 1372.26
260 | 1371.98
270 | 1371.76
280 | 1371.24
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#