## summary
SENSOR TYPE: | Stereo
SERIAL NUMBER: | S00111
FDV(HPK) | 120
FDV (Tsukuba) | 108.7945
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open

## CV
%NEWTEST
SERIAL NUMBER: | S00111
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/3/2003
PASSED | YES
%Test_Rawdata
FILENAME: | CV_S00111.dat
#CV
TEMPERATURE(C): | 27.1
DEPLETION V | 108.7945
30 | 0.1584
150 | 0.80314
100 | 0.58194
500 | 0.5731
2.0881 | 0.0022438
9.2576 | 0.051981
19.7662 | 0.10288
29.0468 | 0.15556
38.5852 | 0.20862
50.3475 | 0.26127
60.014 | 0.31392
67.9264 | 0.36615
77.6903 | 0.41703
87.469 | 0.46759
97.2505 | 0.50945
108.1643 | 0.53566
118.3492 | 0.5487
128.6793 | 0.55421
136.3477 | 0.55835
146.1068 | 0.55971
155.8638 | 0.56241
165.67 | 0.56302
175.4394 | 0.56494
185.2025 | 0.56572
195.2045 | 0.56699
204.7796 | 0.56778
214.5338 | 0.56961
224.3198 | 0.56979
234.0265 | 0.57145
243.9264 | 0.5714
253.6713 | 0.57284
263.4329 | 0.57323
273.2229 | 0.57397
282.9877 | 0.57456
292.7578 | 0.57558
302.5541 | 0.57554
312.3027 | 0.5766
322.1245 | 0.57713
331.8698 | 0.5775
341.711 | 0.57782
351.472 | 0.578
361.2607 | 0.5784
371.0619 | 0.57847
380.8424 | 0.57859
390.6245 | 0.57911
400.5768 | 0.57896
410.234 | 0.57906
419.9976 | 0.5794
429.8327 | 0.57917
439.5607 | 0.57898
449.5806 | 0.5793
459.2093 | 0.57904
468.9506 | 0.57872
478.7982 | 0.57893
488.6694 | 0.57767
496.805 | 0.57751
506.6145 | 0.57776
516.404 | 0.57698
526.171 | 0.57612
536.0094 | 0.57604
545.7405 | 0.57629
555.4755 | 0.57495
565.2356 | 0.57525
574.8916 | 0.57386
584.8981 | 0.57464
594.6197 | 0.57263
604.4724 | 0.57317
614.2654 | 0.57356
624.0635 | 0.57191
633.8245 | 0.57248
643.5953 | 0.57115
653.3903 | 0.57155
663.1625 | 0.56998
672.9565 | 0.5702
682.7786 | 0.56834
692.5644 | 0.5689
702.3528 | 0.56911
712.1147 | 0.56773
721.9154 | 0.56828
731.7152 | 0.56825
741.509 | 0.56724
751.2919 | 0.56704
761.0981 | 0.56646
770.8468 | 0.56573
780.6873 | 0.56573
790.4456 | 0.56578
800.2805 | 0.56468
810.049 | 0.56501
819.8458 | 0.56467
829.6568 | 0.56441
839.5237 | 0.56457
849.2496 | 0.56315
859.0535 | 0.56414
868.8556 | 0.56301
878.6932 | 0.56193
888.4474 | 0.56282
898.2626 | 0.56137
908.1029 | 0.56169
917.8742 | 0.56207
927.6692 | 0.56135
937.4747 | 0.56108
947.3049 | 0.56039
957.0938 | 0.56062
966.9245 | 0.56051
976.7693 | 0.55985

## IV
%NEWTEST
SERIAL NUMBER: | S00111
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/3/2003
PASSED | YES
%Test_Rawdata
FILENAME: | IV_S00111.dat
#IV
TEMPERATURE(C): | 27.1
2.0881 | 42
9.2576 | 121.5
19.7662 | 128.5
29.0468 | 135.5
38.5852 | 139
50.3475 | 144
60.014 | 146.5
67.9264 | 148.5
77.6903 | 152
87.469 | 156.5
97.2505 | 158
108.1643 | 161
118.3492 | 164
128.6793 | 166
136.3477 | 167
146.1068 | 169.5
155.8638 | 172
165.67 | 174
175.4394 | 176
185.2025 | 177.5
195.2045 | 179
204.7796 | 180.5
214.5338 | 182.5
224.3198 | 184.5
234.0265 | 186
243.9264 | 187.5
253.6713 | 189
263.4329 | 191
273.2229 | 193
282.9877 | 194.5
292.7578 | 196
302.5541 | 197.5
312.3027 | 198.5
322.1245 | 200
331.8698 | 201
341.711 | 202
351.472 | 203
361.2607 | 203
371.0619 | 204
380.8424 | 204
390.6245 | 204.5
400.5768 | 205
410.234 | 205.5
419.9976 | 206
429.8327 | 206
439.5607 | 206
449.5806 | 207
459.2093 | 207
468.9506 | 207
478.7982 | 208
488.6694 | 208
496.805 | 208
506.6145 | 208
516.404 | 208
526.171 | 209
536.0094 | 209
545.7405 | 209
555.4755 | 209
565.2356 | 210
574.8916 | 210
584.8981 | 210
594.6197 | 211
604.4724 | 211
614.2654 | 211
624.0635 | 211
633.8245 | 211
643.5953 | 212
653.3903 | 212
663.1625 | 212
672.9565 | 212
682.7786 | 212
692.5644 | 212
702.3528 | 212.5
712.1147 | 213
721.9154 | 213
731.7152 | 213
741.509 | 213
751.2919 | 213
761.0981 | 213
770.8468 | 214
780.6873 | 214
790.4456 | 214
800.2805 | 214
810.049 | 215
819.8458 | 214.5
829.6568 | 215
839.5237 | 215
849.2496 | 215
859.0535 | 215
868.8556 | 215
878.6932 | 215
888.4474 | 215
898.2626 | 216
908.1029 | 216
917.8742 | 216
927.6692 | 217
937.4747 | 217
947.3049 | 217
957.0938 | 217
966.9245 | 217
976.7693 | 217
#
#
#
#
#
#
#
#
#

## HPK
%ITEM
SERIAL NUMBER | S00111
%TEST
TEST DATE | 2003-01-01
PROBLEM | NO
PASSED | YES
%DATA
TEMPERATURE(C) | 25
I_LEAK500V(microA) | 0.1801
I_LEAK700V(microA) | 0.1919
Vdep(V) | 120
%DEFECT
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open
#
#
#
#
#
#
#
#
%RAWDATA
#IV
0 | 8.537
10 | 77.25
20 | 94.17
30 | 104.62
40 | 112.51
50 | 118
60 | 122.34
70 | 125.96
80 | 129.08
90 | 131.81
100 | 134.22
110 | 136.44
120 | 138.48
130 | 140.42
140 | 142.19
150 | 143.93
160 | 145.58
170 | 147.16
180 | 148.69
190 | 150.18
200 | 151.62
210 | 152.97
220 | 154.29
230 | 155.56
240 | 156.75
250 | 157.9
260 | 158.99
270 | 160.06
280 | 161.1
290 | 162.13
300 | 163.13
310 | 164.17
320 | 165.09
330 | 166.06
340 | 167
350 | 167.94
360 | 168.84
370 | 169.76
380 | 170.65
390 | 171.56
400 | 172.4
410 | 173.25
420 | 174.06
430 | 175.02
440 | 175.83
450 | 176.61
460 | 177.36
470 | 178.16
480 | 178.91
490 | 179.65
500 | 180.1
510 | 181.04
520 | 181.7
530 | 182.62
540 | 183.1
550 | 184.06
560 | 184.5
570 | 185.2
580 | 185.8
590 | 186.5
600 | 187.4
610 | 190
620 | 195.3
630 | 197
640 | 197.4
650 | 193.2
660 | 194.4
670 | 193.6
680 | 191
690 | 191.5
700 | 191.9
710 | 192.4
720 | 192.8
730 | 193.2
740 | 193.6
750 | 193.9
760 | 194.3
770 | 194.7
780 | 195
790 | 195.3
800 | 195.7
810 | 196
820 | 196.3
830 | 196.6
840 | 196.9
850 | 197.3
860 | 197.6
870 | 197.8
880 | 198.1
890 | 198.4
900 | 198.7
910 | 198.9
920 | 199.2
930 | 199.5
940 | 199.7
950 | 200
960 | 200.3
970 | 200.6
980 | 200.8
990 | 201.1
1000 | 201.4
%RAWDATA
#CV
50 | 2021.5
60 | 1836.89
70 | 1695.21
80 | 1583.23
90 | 1495.04
100 | 1432.85
110 | 1399.69
120 | 1384.98
130 | 1379.03
140 | 1376.4
150 | 1374.98
160 | 1373.78
170 | 1372.8
180 | 1372.12
190 | 1371.37
200 | 1370.92
210 | 1370.45
220 | 1369.96
230 | 1369.51
240 | 1369.11
250 | 1368.82
260 | 1368.54
270 | 1368.31
280 | 1367.91
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#