## summary
SENSOR TYPE: | Stereo
SERIAL NUMBER: | S00117
FDV(HPK) | 110
FDV (Tsukuba) | 103.1414
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open

## CV
%NEWTEST
SERIAL NUMBER: | S00117
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/3/2003
PASSED | YES
%Test_Rawdata
FILENAME: | CV_S00117.dat
#CV
TEMPERATURE(C): | 27.1
DEPLETION V | 103.1414
30 | 0.1596
150 | 0.80148
100 | 0.55079
500 | 0.55572
2.0761 | 0.0022911
9.2695 | 0.051654
19.7218 | 0.10226
28.8 | 0.1551
38.5834 | 0.20572
48.3684 | 0.25854
58.1488 | 0.31121
67.9507 | 0.36195
77.6886 | 0.41382
87.4495 | 0.4626
97.2984 | 0.50065
107.0163 | 0.52226
116.7756 | 0.53215
127.0756 | 0.53627
136.3823 | 0.53905
146.1554 | 0.54024
155.8723 | 0.54113
165.676 | 0.54218
175.4735 | 0.54275
185.225 | 0.54421
195.0405 | 0.54484
204.7591 | 0.54585
214.5643 | 0.54577
225.0847 | 0.54653
234.9795 | 0.5472
243.9997 | 0.54767
254.4367 | 0.54836
263.4802 | 0.54954
273.2845 | 0.54968
283.037 | 0.55063
292.8532 | 0.55066
302.6096 | 0.55173
312.3853 | 0.55217
322.1666 | 0.55258
331.9498 | 0.55284
341.7426 | 0.55324
351.5201 | 0.5539
361.3317 | 0.55407
371.1259 | 0.55484
380.9191 | 0.55486
390.6776 | 0.55524
400.4708 | 0.55573
410.2992 | 0.5564
420.0885 | 0.55626
429.8676 | 0.5569
439.6649 | 0.55708
449.4868 | 0.55713
459.291 | 0.55758
469.0675 | 0.55786
478.8777 | 0.55817
488.7222 | 0.55834
496.8908 | 0.55838
506.6149 | 0.55878
516.4845 | 0.55892
526.2285 | 0.55908
536.0412 | 0.55933
545.8416 | 0.55974
555.6222 | 0.55967
565.4429 | 0.55982
575.1871 | 0.55977
585.03 | 0.56001
594.8282 | 0.56014
604.6038 | 0.56016
614.4157 | 0.56023
624.1776 | 0.56021
633.9758 | 0.56029
643.7561 | 0.56049
653.5579 | 0.56043
663.3714 | 0.56014
673.1293 | 0.56055
682.9508 | 0.56042
692.7423 | 0.5602
702.9582 | 0.56044
712.31 | 0.56011
722.0918 | 0.56008
731.9006 | 0.55966
741.6798 | 0.55997
751.4671 | 0.55977
761.2989 | 0.55945
771.0364 | 0.55956
780.8273 | 0.55955
790.625 | 0.55931
800.4319 | 0.55913
810.2017 | 0.55861
819.98 | 0.55901
829.7838 | 0.55833
839.5929 | 0.55887
849.3797 | 0.55855
859.1923 | 0.55867
869.0136 | 0.55827
878.8166 | 0.55802
888.5805 | 0.55818
900.3912 | 0.55812
908.2252 | 0.55821
917.9637 | 0.5577
927.6498 | 0.55699
937.6191 | 0.55753
947.4119 | 0.55766
957.2389 | 0.55742
967.0623 | 0.55743
976.8893 | 0.55707

## IV
%NEWTEST
SERIAL NUMBER: | S00117
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/3/2003
PASSED | YES
%Test_Rawdata
FILENAME: | IV_S00117.dat
#IV
TEMPERATURE(C): | 27.1
2.0761 | 40
9.2695 | 112.5
19.7218 | 118.5
28.8 | 123.5
38.5834 | 126
48.3684 | 128
58.1488 | 130.5
67.9507 | 132.5
77.6886 | 134
87.4495 | 136
97.2984 | 137.5
107.0163 | 139
116.7756 | 141
127.0756 | 142
136.3823 | 143
146.1554 | 144
155.8723 | 146
165.676 | 147
175.4735 | 148.5
185.225 | 150
195.0405 | 151
204.7591 | 152
214.5643 | 154
225.0847 | 153
234.9795 | 150.5
243.9997 | 151.5
254.4367 | 153
263.4802 | 156.5
273.2845 | 159
283.037 | 161
292.8532 | 162
302.6096 | 163
312.3853 | 164
322.1666 | 165
331.9498 | 165
341.7426 | 166
351.5201 | 167
361.3317 | 167.5
371.1259 | 168
380.9191 | 169
390.6776 | 169
400.4708 | 170
410.2992 | 170
420.0885 | 171
429.8676 | 171
439.6649 | 172
449.4868 | 172.5
459.291 | 171
469.0675 | 172
478.8777 | 173
488.7222 | 173
496.8908 | 174
506.6149 | 173
516.4845 | 172
526.2285 | 169.5
536.0412 | 170
545.8416 | 170
555.6222 | 169.5
565.4429 | 170
575.1871 | 170.5
585.03 | 170
594.8282 | 170.5
604.6038 | 171
614.4157 | 171
624.1776 | 171
633.9758 | 171.5
643.7561 | 171
653.5579 | 172
663.3714 | 172
673.1293 | 171.5
682.9508 | 172
692.7423 | 172
702.9582 | 175
712.31 | 176
722.0918 | 177
731.9006 | 177
741.6798 | 177.5
751.4671 | 177.5
761.2989 | 178
771.0364 | 178
780.8273 | 178
790.625 | 179
800.4319 | 179
810.2017 | 179
819.98 | 179
829.7838 | 179.5
839.5929 | 180
849.3797 | 179
859.1923 | 180
869.0136 | 180
878.8166 | 180
888.5805 | 180
900.3912 | 179.5
908.2252 | 179
917.9637 | 180
927.6498 | 180
937.6191 | 181
947.4119 | 181
957.2389 | 181
967.0623 | 181
976.8893 | 181
#
#
#
#
#
#
#
#
#

## HPK
%ITEM
SERIAL NUMBER | S00117
%TEST
TEST DATE | 2003-01-01
PROBLEM | NO
PASSED | YES
%DATA
TEMPERATURE(C) | 25
I_LEAK500V(microA) | 0.15063
I_LEAK700V(microA) | 0.15789
Vdep(V) | 110
%DEFECT
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open
#
#
#
#
#
#
#
#
%RAWDATA
#IV
0 | 8.432
10 | 70.73
20 | 85.92
30 | 94.15
40 | 100.16
50 | 104.36
60 | 107.76
70 | 110.62
80 | 113.02
90 | 115.14
100 | 117.03
110 | 118.68
120 | 120.17
130 | 121.61
140 | 122.98
150 | 124.22
160 | 125.42
170 | 126.6
180 | 127.72
190 | 128.85
200 | 129.9
210 | 130.92
220 | 131.91
230 | 132.86
240 | 133.73
250 | 134.64
260 | 135.49
270 | 136.29
280 | 137.09
290 | 137.92
300 | 138.65
310 | 139.37
320 | 140.08
330 | 140.77
340 | 141.43
350 | 142.09
360 | 142.73
370 | 143.38
380 | 143.98
390 | 144.59
400 | 145.18
410 | 145.82
420 | 146.39
430 | 146.94
440 | 147.5
450 | 148.08
460 | 148.54
470 | 149.03
480 | 149.48
490 | 150.09
500 | 150.63
510 | 151.1
520 | 151.56
530 | 152.01
540 | 152.46
550 | 152.87
560 | 153.33
570 | 153.94
580 | 157.05
590 | 158.69
600 | 162.33
610 | 163.47
620 | 157.34
630 | 159.5
640 | 159.3
650 | 156.42
660 | 156.72
670 | 157.02
680 | 157.32
690 | 157.59
700 | 157.89
710 | 158.16
720 | 158.42
730 | 158.69
740 | 158.95
750 | 159.18
760 | 159.41
770 | 159.66
780 | 159.88
790 | 160.13
800 | 160.42
810 | 160.62
820 | 160.86
830 | 161.12
840 | 161.33
850 | 161.55
860 | 161.75
870 | 161.99
880 | 162.19
890 | 162.43
900 | 162.61
910 | 162.83
920 | 163.03
930 | 163.28
940 | 163.58
950 | 163.69
960 | 163.94
970 | 164.2
980 | 164.37
990 | 164.68
1000 | 164.84
%RAWDATA
#CV
50 | 1995.36
60 | 1814.43
70 | 1675.57
80 | 1565.93
90 | 1481.07
100 | 1425.26
110 | 1398.12
120 | 1387.31
130 | 1382.72
140 | 1380.74
150 | 1379.37
160 | 1378.31
170 | 1377.31
180 | 1376.72
190 | 1376.13
200 | 1375.48
210 | 1375.05
220 | 1374.56
230 | 1374.23
240 | 1373.82
250 | 1373.43
260 | 1373.26
270 | 1372.9
280 | 1372.61
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#