## summary
SENSOR TYPE: | Stereo
SERIAL NUMBER: | S00196
FDV(HPK) | 130
FDV (Tsukuba) | 118.1268
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open

## CV
%NEWTEST
SERIAL NUMBER: | S00196
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/4/2003
PASSED | YES
%Test_Rawdata
FILENAME: | CV_S00196.dat
#CV
TEMPERATURE(C): | 27.7
DEPLETION V | 118.1268
30 | 0.14247
150 | 0.72207
100 | 0.56822
500 | 0.566
2.086 | 0.0021047
9.2701 | 0.044611
19.7644 | 0.091675
28.8543 | 0.1372
38.6173 | 0.18498
48.3723 | 0.23218
58.1311 | 0.27848
67.9332 | 0.32575
77.7214 | 0.37202
87.4766 | 0.419
97.2776 | 0.46338
107.1902 | 0.50162
116.7959 | 0.52709
127.1197 | 0.53882
136.3739 | 0.54473
146.1227 | 0.54685
155.8846 | 0.5496
165.6602 | 0.55037
175.4542 | 0.55181
185.224 | 0.55328
195.0454 | 0.55419
204.8107 | 0.55583
214.5873 | 0.55637
224.3647 | 0.55792
234.1564 | 0.55828
243.9399 | 0.56026
253.7062 | 0.56059
263.4963 | 0.56095
273.2783 | 0.56238
283.0356 | 0.56265
292.8291 | 0.56315
302.575 | 0.56443
312.3574 | 0.56531
322.1396 | 0.56628
331.9331 | 0.5662
341.7328 | 0.5665
351.5303 | 0.56757
361.223 | 0.56751
370.9994 | 0.56842
380.8883 | 0.56872
390.6739 | 0.56949
400.4672 | 0.56949
410.2696 | 0.56975
420.0765 | 0.57029
429.849 | 0.57067
439.6448 | 0.57076
449.448 | 0.57159
459.2514 | 0.5712
469.0538 | 0.57129
478.873 | 0.57111
488.73 | 0.57102
496.8611 | 0.57213
506.6403 | 0.57113
516.4463 | 0.57116
526.2171 | 0.57107
535.9819 | 0.5714
545.7948 | 0.57077
555.591 | 0.57086
565.3687 | 0.57088
575.1236 | 0.57067
584.9162 | 0.57066
594.7004 | 0.57009
604.4572 | 0.56974
614.3115 | 0.5698
624.0933 | 0.56873
633.8711 | 0.56886
643.603 | 0.56811
653.4026 | 0.56868
663.2112 | 0.56766
673.0187 | 0.56742
682.8392 | 0.56636
692.614 | 0.56703
702.398 | 0.56557
712.1666 | 0.56611
721.951 | 0.56613
731.7813 | 0.56556
741.5567 | 0.56558
751.3253 | 0.56443
760.9649 | 0.56455
770.7881 | 0.56359
780.732 | 0.56409
790.3889 | 0.56268
800.3147 | 0.56335
810.0899 | 0.56245
819.7195 | 0.56301
829.6642 | 0.56194
839.4387 | 0.56225
849.2062 | 0.56144
859.0809 | 0.56181
868.9058 | 0.56109
878.7044 | 0.56126
888.4781 | 0.56008
898.2906 | 0.5604
908.1113 | 0.55934
917.9452 | 0.55966
927.6834 | 0.55994
937.5021 | 0.55965
947.2415 | 0.55899
957.139 | 0.5591
966.9566 | 0.55813
976.7954 | 0.55845

## IV
%NEWTEST
SERIAL NUMBER: | S00196
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/4/2003
PASSED | YES
%Test_Rawdata
FILENAME: | IV_S00196.dat
#IV
TEMPERATURE(C): | 27.7
2.086 | 27.6
9.2701 | 129.15
19.7644 | 143.8
28.8543 | 149
38.6173 | 148.7
48.3723 | 152
58.1311 | 154.8
67.9332 | 160.7
77.7214 | 161.15
87.4766 | 161.1
97.2776 | 166.75
107.1902 | 165.4
116.7959 | 171.2
127.1197 | 169.95
136.3739 | 170.65
146.1227 | 177.05
155.8846 | 175.6
165.6602 | 176.25
175.4542 | 177.75
185.224 | 179.25
195.0454 | 180.8
204.8107 | 182.25
214.5873 | 183.65
224.3647 | 185
234.1564 | 186.4
243.9399 | 187.75
253.7062 | 189
263.4963 | 190.2
273.2783 | 191.5
283.0356 | 192.7
292.8291 | 193.8
302.575 | 194.9
312.3574 | 195.9
322.1396 | 197
331.9331 | 198.2
341.7328 | 199.3
351.5303 | 200.2
361.223 | 201.2
370.9994 | 202.2
380.8883 | 203.2
390.6739 | 204.1
400.4672 | 205
410.2696 | 205.9
420.0765 | 206.8
429.849 | 207.6
439.6448 | 208.4
449.448 | 209.25
459.2514 | 210
469.0538 | 210.9
478.873 | 211.6
488.73 | 212.4
496.8611 | 212.85
506.6403 | 213.65
516.4463 | 214.55
526.2171 | 215.3
535.9819 | 215.95
545.7948 | 216.65
555.591 | 217.25
565.3687 | 217.95
575.1236 | 218.45
584.9162 | 219.1
594.7004 | 219.75
604.4572 | 220.35
614.3115 | 220.95
624.0933 | 221.45
633.8711 | 221.9
643.603 | 222.35
653.4026 | 222.95
663.2112 | 223.55
673.0187 | 223.95
682.8392 | 224.35
692.614 | 224.85
702.398 | 225.3
712.1666 | 225.85
721.951 | 226.25
731.7813 | 226.65
741.5567 | 227.05
751.3253 | 227.45
760.9649 | 227.65
770.7881 | 228.05
780.732 | 228.55
790.3889 | 228.9
800.3147 | 229.35
810.0899 | 229.65
819.7195 | 229.95
829.6642 | 230.35
839.4387 | 230.75
849.2062 | 231.05
859.0809 | 231.45
868.9058 | 231.65
878.7044 | 231.75
888.4781 | 232.15
898.2906 | 232.65
908.1113 | 233.05
917.9452 | 233.45
927.6834 | 233.75
937.5021 | 234.15
947.2415 | 234.1
957.139 | 234.45
966.9566 | 234.95
976.7954 | 235.35
#
#
#
#
#
#
#
#
#

## HPK
%ITEM
SERIAL NUMBER | S00196
%TEST
TEST DATE | 2003-01-01
PROBLEM | NO
PASSED | YES
%DATA
TEMPERATURE(C) | 25
I_LEAK500V(microA) | 0.1869
I_LEAK700V(microA) | 0.1972
Vdep(V) | 130
%DEFECT
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open
#
#
#
#
#
#
#
#
%RAWDATA
#IV
0 | 6.257
10 | 84.45
20 | 103.93
30 | 114.19
40 | 121.87
50 | 127.45
60 | 131.96
70 | 135.71
80 | 138.89
90 | 141.68
100 | 144.13
110 | 146.31
120 | 148.28
130 | 150.16
140 | 151.86
150 | 153.49
160 | 155.01
170 | 156.51
180 | 157.9
190 | 159.25
200 | 161.24
210 | 162.96
220 | 170.32
230 | 171.85
240 | 167.64
250 | 166.09
260 | 168.09
270 | 158.64
280 | 169.31
290 | 170.3
300 | 171.28
310 | 172.23
320 | 173.15
330 | 174.05
340 | 174.96
350 | 175.81
360 | 176.65
370 | 177.46
380 | 178.29
390 | 179.09
400 | 179.85
410 | 180.6
420 | 181.3
430 | 182.1
440 | 182.8
450 | 183.6
460 | 184.3
470 | 185
480 | 185.6
490 | 186.3
500 | 186.9
510 | 187.5
520 | 188.1
530 | 188.7
540 | 189.3
550 | 189.9
560 | 190.4
570 | 190.9
580 | 191.5
590 | 192
600 | 192.5
610 | 193
620 | 193.5
630 | 194
640 | 194.4
650 | 194.9
660 | 195.3
670 | 195.8
680 | 196.3
690 | 196.7
700 | 197.2
710 | 197.6
720 | 198
730 | 198.4
740 | 198.8
750 | 199.3
760 | 199.7
770 | 200
780 | 200.4
790 | 200.8
800 | 201.2
810 | 201.6
820 | 201.9
830 | 202.3
840 | 202.6
850 | 203
860 | 203.3
870 | 203.7
880 | 204
890 | 204.4
900 | 204.7
910 | 205.1
920 | 205.4
930 | 205.8
940 | 206.1
950 | 206.4
960 | 206.8
970 | 207.1
980 | 207.4
990 | 207.8
1000 | 208.1
%RAWDATA
#CV
50 | 2123.49
60 | 1928.93
70 | 1780.07
80 | 1661.97
90 | 1565.44
100 | 1487.99
110 | 1432.46
120 | 1401.02
130 | 1387.77
140 | 1382.94
150 | 1380.65
160 | 1379.17
170 | 1378
180 | 1377.12
190 | 1376.43
200 | 1375.82
210 | 1375.21
220 | 1374.84
230 | 1374.06
240 | 1373.89
250 | 1373.49
260 | 1373.09
270 | 1372.78
280 | 1372.46
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#