## summary
SENSOR TYPE: | Stereo
SERIAL NUMBER: | S00199
FDV(HPK) | 120
FDV (Tsukuba) | 114.6836
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open

## CV
%NEWTEST
SERIAL NUMBER: | S00199
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/4/2003
PASSED | YES
%Test_Rawdata
FILENAME: | CV_S00199.dat
#CV
TEMPERATURE(C): | 27.7
DEPLETION V | 114.6836
30 | 0.14247
150 | 0.72169
100 | 0.5511
500 | 0.55448
2.0862 | 0.0020795
9.2764 | 0.045182
19.771 | 0.090904
28.7624 | 0.13814
38.5268 | 0.18394
48.3553 | 0.23162
58.1505 | 0.27941
67.9122 | 0.32522
77.9017 | 0.37256
87.4487 | 0.41896
97.2794 | 0.4626
107.7421 | 0.49848
116.7839 | 0.51996
127.1016 | 0.52956
136.3843 | 0.5333
146.1237 | 0.53524
155.9152 | 0.5375
165.6959 | 0.53902
175.475 | 0.53959
185.2346 | 0.54059
194.9904 | 0.54208
204.8086 | 0.54263
214.5883 | 0.54356
224.3466 | 0.54411
234.0953 | 0.54535
243.9491 | 0.5456
253.7036 | 0.54584
263.5003 | 0.5474
274.1781 | 0.54785
283.0425 | 0.54874
293.5338 | 0.54911
302.6031 | 0.5504
313.2671 | 0.55024
322.159 | 0.5514
331.9391 | 0.55228
341.733 | 0.55249
351.5924 | 0.55306
361.3345 | 0.55357
371.1073 | 0.55413
380.8718 | 0.5548
390.6494 | 0.55522
400.4904 | 0.55591
410.2833 | 0.556
420.1077 | 0.55652
429.86 | 0.55671
439.6378 | 0.55742
449.3891 | 0.55703
459.2193 | 0.55801
469.0826 | 0.55806
478.9175 | 0.55837
488.7302 | 0.55891
496.8838 | 0.55891
506.6786 | 0.55907
516.4761 | 0.55913
526.2214 | 0.55948
536.0091 | 0.5597
545.8024 | 0.55955
555.5802 | 0.5598
565.3911 | 0.5592
575.2448 | 0.55977
585.0487 | 0.55976
594.7579 | 0.56007
604.5365 | 0.55964
614.3336 | 0.5595
624.1275 | 0.55964
633.8865 | 0.55981
643.6588 | 0.55918
653.3102 | 0.55913
663.2627 | 0.55872
673.0255 | 0.55894
682.8655 | 0.55895
692.644 | 0.5592
702.4168 | 0.55873
712.196 | 0.55815
721.9355 | 0.55806
731.7907 | 0.55792
741.5792 | 0.55805
751.3504 | 0.55683
761.163 | 0.55714
770.9544 | 0.55683
780.676 | 0.55757
790.3926 | 0.557
800.3475 | 0.55679
810.1092 | 0.55648
819.9122 | 0.55609
829.7122 | 0.55601
839.5252 | 0.55571
849.3354 | 0.55492
859.1161 | 0.55506
868.9342 | 0.55508
878.7333 | 0.55472
888.5086 | 0.55371
898.3198 | 0.55438
908.1301 | 0.55396
917.9249 | 0.55416
927.6736 | 0.55339
937.5181 | 0.55363
947.3513 | 0.5532
957.146 | 0.55352
966.9663 | 0.55252
976.8165 | 0.55245

## IV
%NEWTEST
SERIAL NUMBER: | S00199
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/4/2003
PASSED | YES
%Test_Rawdata
FILENAME: | IV_S00199.dat
#IV
TEMPERATURE(C): | 27.7
2.0862 | 21.7
9.2764 | 119.1
19.771 | 126.25
28.7624 | 127.6
38.5268 | 129.9
48.3553 | 132.4
58.1505 | 134.7
67.9122 | 136.9
77.9017 | 138.75
87.4487 | 138.35
97.2794 | 138.3
107.7421 | 138.9
116.7839 | 139.85
127.1016 | 146.35
136.3843 | 145.1
146.1237 | 145.5
155.9152 | 146.6
165.6959 | 148.15
175.475 | 149.6
185.2346 | 150.9
194.9904 | 152.1
204.8086 | 153.3
214.5883 | 154.5
224.3466 | 155.6
234.0953 | 156.7
243.9491 | 157.8
253.7036 | 159
263.5003 | 160.95
274.1781 | 159.55
283.0425 | 163.4
293.5338 | 162.25
302.6031 | 160.75
313.2671 | 167.5
322.159 | 167.3
331.9391 | 166
341.733 | 166.5
351.5924 | 167.5
361.3345 | 168.4
371.1073 | 169.15
380.8718 | 169.75
390.6494 | 170.4
400.4904 | 171.2
410.2833 | 171.8
420.1077 | 172.4
429.86 | 172.85
439.6378 | 173.5
449.3891 | 174.1
459.2193 | 174.65
469.0826 | 174.75
478.9175 | 175.4
488.7302 | 173.85
496.8838 | 174.7
506.6786 | 176.2
516.4761 | 177.4
526.2214 | 178.05
536.0091 | 178.55
545.8024 | 178.95
555.5802 | 179.5
565.3911 | 179.95
575.2448 | 177.25
585.0487 | 183.25
594.7579 | 181.95
604.5365 | 181.6
614.3336 | 181.75
624.1275 | 182
633.8865 | 182.45
643.6588 | 182.95
653.3102 | 183.35
663.2627 | 183.75
673.0255 | 184.1
682.8655 | 184.4
692.644 | 184.75
702.4168 | 185.25
712.196 | 185.45
721.9355 | 185.75
731.7907 | 185.8
741.5792 | 186.05
751.3504 | 186.45
761.163 | 186.85
770.9544 | 186.9
780.676 | 187.55
790.3926 | 186.45
800.3475 | 185.95
810.1092 | 186.8
819.9122 | 187.95
829.7122 | 188.75
839.5252 | 189.15
849.3354 | 189.5
859.1161 | 189.75
868.9342 | 190.05
878.7333 | 190.3
888.5086 | 190.4
898.3198 | 190.75
908.1301 | 191.15
917.9249 | 191.3
927.6736 | 191.55
937.5181 | 191.75
947.3513 | 192.05
957.146 | 192.45
966.9663 | 192.6
976.8165 | 192.8
#
#
#
#
#
#
#
#
#

## HPK
%ITEM
SERIAL NUMBER | S00199
%TEST
TEST DATE | 2003-01-01
PROBLEM | NO
PASSED | YES
%DATA
TEMPERATURE(C) | 25
I_LEAK500V(microA) | 0.14808
I_LEAK700V(microA) | 0.16131
Vdep(V) | 120
%DEFECT
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open
#
#
#
#
#
#
#
#
%RAWDATA
#IV
0 | 0.03005
10 | 69.04
20 | 86.03
30 | 95.49
40 | 102.45
50 | 107.3
60 | 111.13
70 | 114.26
80 | 116.91
90 | 119.16
100 | 121.13
110 | 122.89
120 | 124.47
130 | 125.99
140 | 127.37
150 | 128.7
160 | 129.93
170 | 131.12
180 | 132.25
190 | 133.31
200 | 134.33
210 | 135.36
220 | 136.32
230 | 137.24
240 | 138.1
250 | 138.97
260 | 139.82
270 | 140.6
280 | 141.38
290 | 142.1
300 | 142.85
310 | 143.55
320 | 144.21
330 | 144.87
340 | 145.54
350 | 146.18
360 | 146.8
370 | 147.38
380 | 147.96
390 | 148.52
400 | 149.06
410 | 149.6
420 | 150.08
430 | 150.61
440 | 151.13
450 | 151.63
460 | 152.08
470 | 152.57
480 | 153
490 | 153.46
500 | 148.08
510 | 154.81
520 | 155.46
530 | 160.5
540 | 163.47
550 | 164.06
560 | 156.46
570 | 156.77
580 | 158.52
590 | 157.74
600 | 158.1
610 | 158.45
620 | 158.79
630 | 159.1
640 | 159.43
650 | 159.74
660 | 160.07
670 | 160.41
680 | 160.7
690 | 161
700 | 161.31
710 | 161.61
720 | 161.9
730 | 162.19
740 | 162.46
750 | 162.78
760 | 163.04
770 | 163.33
780 | 163.61
790 | 163.88
800 | 164.11
810 | 164.42
820 | 164.7
830 | 164.98
840 | 165.24
850 | 165.51
860 | 165.79
870 | 166
880 | 166.29
890 | 166.58
900 | 166.81
910 | 167.06
920 | 167.34
930 | 167.57
940 | 167.86
950 | 168.1
960 | 168.4
970 | 168.63
980 | 168.92
990 | 169.18
1000 | 169.41
%RAWDATA
#CV
50 | 2113.63
60 | 1920.01
70 | 1771.95
80 | 1654.22
90 | 1558.91
100 | 1483.27
110 | 1431.72
120 | 1404.99
130 | 1394.74
140 | 1390.91
150 | 1388.95
160 | 1387.41
170 | 1386.41
180 | 1385.6
190 | 1384.9
200 | 1384.16
210 | 1383.52
220 | 1383.05
230 | 1382.6
240 | 1382.25
250 | 1382
260 | 1381.58
270 | 1381.08
280 | 1380.72
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#