## summary
SENSOR TYPE: | Stereo
SERIAL NUMBER: | S00212
FDV(HPK) | 130
FDV (Tsukuba) | 123.4923
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open

## CV
%NEWTEST
SERIAL NUMBER: | S00212
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/4/2003
PASSED | YES
%Test_Rawdata
FILENAME: | CV_S00212.dat
#CV
TEMPERATURE(C): | 27.7
DEPLETION V | 123.4923
30 | 0.13372
150 | 0.68318
100 | 0.56193
500 | 0.55976
2.0816 | 0.0033823
9.284 | 0.049082
19.7621 | 0.085804
28.8301 | 0.1288
38.6057 | 0.17383
48.3709 | 0.21851
58.1531 | 0.26231
67.9346 | 0.30723
77.7015 | 0.35187
87.4311 | 0.39562
97.2622 | 0.43921
107.0282 | 0.47929
116.761 | 0.51163
127.1012 | 0.53004
136.3718 | 0.53766
146.1268 | 0.54089
155.8931 | 0.54336
165.6766 | 0.54486
175.4731 | 0.54691
185.1777 | 0.54743
195.0478 | 0.54935
204.8284 | 0.54986
214.5887 | 0.5506
224.3626 | 0.55202
234.1566 | 0.55264
243.9584 | 0.55413
253.6951 | 0.55348
263.4851 | 0.55548
273.2893 | 0.55618
283.0387 | 0.55754
292.799 | 0.55747
302.6035 | 0.55801
312.3818 | 0.55918
322.152 | 0.55952
331.9334 | 0.56073
341.7554 | 0.56061
351.5683 | 0.56165
361.3179 | 0.5618
371.1168 | 0.56202
380.9219 | 0.56261
390.694 | 0.5631
400.4484 | 0.56347
410.2809 | 0.56392
420.0961 | 0.5639
429.8723 | 0.56467
439.6482 | 0.5643
449.4764 | 0.5646
459.2746 | 0.56469
469.0575 | 0.56472
478.8786 | 0.56479
488.7136 | 0.56514
496.8669 | 0.56459
506.6383 | 0.56481
516.4529 | 0.56458
526.2295 | 0.56489
536.0133 | 0.56426
545.8022 | 0.56457
555.5836 | 0.56375
565.3691 | 0.5644
575.1561 | 0.56303
584.9589 | 0.56408
594.7508 | 0.56294
604.4906 | 0.5632
614.3359 | 0.56323
624.0665 | 0.5625
633.8707 | 0.56266
643.6602 | 0.5619
653.4541 | 0.56174
663.2576 | 0.5604
673.0287 | 0.56089
682.843 | 0.56083
692.6404 | 0.55975
702.422 | 0.56008
712.1802 | 0.56021
721.9777 | 0.55952
731.8066 | 0.55856
741.5758 | 0.55884
751.3475 | 0.5588
761.1311 | 0.55822
770.9265 | 0.55815
780.6277 | 0.55747
790.3384 | 0.55757
800.3028 | 0.55673
810.0052 | 0.55654
819.8138 | 0.55615
829.7089 | 0.55644
839.4993 | 0.55518
849.2952 | 0.55555
859.1215 | 0.55561
868.9228 | 0.55564
878.7341 | 0.55537
888.519 | 0.55484
898.3013 | 0.55465
908.1389 | 0.55427
917.9133 | 0.55376
927.7207 | 0.55366
937.5388 | 0.55306
947.3379 | 0.55326
957.1503 | 0.55241
966.9733 | 0.5526
976.8201 | 0.55281

## IV
%NEWTEST
SERIAL NUMBER: | S00212
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/4/2003
PASSED | YES
%Test_Rawdata
FILENAME: | IV_S00212.dat
#IV
TEMPERATURE(C): | 27.7
2.0816 | 26.2
9.284 | 130.15
19.7621 | 141.15
28.8301 | 143.05
38.6057 | 144.95
48.3709 | 147.2
58.1531 | 146.1
67.9346 | 151.95
77.7015 | 153.6
87.4311 | 155.55
97.2622 | 157.1
107.0282 | 157.05
116.761 | 156.75
127.1012 | 157.7
136.3718 | 163.95
146.1268 | 165.3
155.8931 | 164.05
165.6766 | 164.6
175.4731 | 165.9
185.1777 | 167.5
195.0478 | 168.95
204.8284 | 170.35
214.5887 | 171.75
224.3626 | 173.05
234.1566 | 174.4
243.9584 | 175.6
253.6951 | 176.8
263.4851 | 177.9
273.2893 | 179.15
283.0387 | 180.35
292.799 | 181.5
302.6035 | 182.5
312.3818 | 183.6
322.152 | 184.6
331.9334 | 185.7
341.7554 | 186.7
351.5683 | 187.8
361.3179 | 188.8
371.1168 | 189.75
380.9219 | 190.7
390.694 | 191.7
400.4484 | 192.65
410.2809 | 193.6
420.0961 | 194.5
429.8723 | 195.4
439.6482 | 196.2
449.4764 | 197.1
459.2746 | 197.55
469.0575 | 198.1
478.8786 | 199.2
488.7136 | 200.3
496.8669 | 200.85
506.6383 | 201.65
516.4529 | 202.65
526.2295 | 203.4
536.0133 | 204.15
545.8022 | 204.9
555.5836 | 205.55
565.3691 | 206.25
575.1561 | 206.9
584.9589 | 207.55
594.7508 | 208.2
604.4906 | 208.85
614.3359 | 209.45
624.0665 | 210.05
633.8707 | 210.65
643.6602 | 211.25
653.4541 | 211.85
663.2576 | 212.45
673.0287 | 212.95
682.843 | 213.45
692.6404 | 214.05
702.422 | 214.6
712.1802 | 215.05
721.9777 | 215.45
731.8066 | 215.95
741.5758 | 216.45
751.3475 | 216.85
761.1311 | 217.25
770.9265 | 217.65
780.6277 | 218.05
790.3384 | 218.45
800.3028 | 218.85
810.0052 | 219.25
819.8138 | 219.65
829.7089 | 220
839.4993 | 220.4
849.2952 | 220.75
859.1215 | 220.75
868.9228 | 220.85
878.7341 | 221.05
888.519 | 221.35
898.3013 | 221.65
908.1389 | 222.05
917.9133 | 222.65
927.7207 | 223.25
937.5388 | 223.75
947.3379 | 224.15
957.1503 | 224.45
966.9733 | 224.8
976.8201 | 225.25
#
#
#
#
#
#
#
#
#

## HPK
%ITEM
SERIAL NUMBER | S00212
%TEST
TEST DATE | 2003-01-01
PROBLEM | NO
PASSED | YES
%DATA
TEMPERATURE(C) | 25
I_LEAK500V(microA) | 0.1844
I_LEAK700V(microA) | 0.1871
Vdep(V) | 130
%DEFECT
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open
#
#
#
#
#
#
#
#
%RAWDATA
#IV
0 | 5.894
10 | 78.91
20 | 96.35
30 | 105.99
40 | 113.19
50 | 118.35
60 | 122.45
70 | 125.88
80 | 128.84
90 | 131.45
100 | 133.75
110 | 135.77
120 | 137.6
130 | 139.33
140 | 140.91
150 | 142.43
160 | 143.87
170 | 145.28
180 | 146.61
190 | 147.89
200 | 149.17
210 | 150.41
220 | 151.57
230 | 152.7
240 | 153.81
250 | 154.89
260 | 155.94
270 | 156.97
280 | 157.97
290 | 158.98
300 | 159.96
310 | 160.88
320 | 161.79
330 | 162.7
340 | 163.6
350 | 164.46
360 | 165.29
370 | 166.08
380 | 166.91
390 | 167.75
400 | 168.53
410 | 169.31
420 | 170.04
430 | 170.79
440 | 171.55
450 | 166.29
460 | 172.73
470 | 173.75
480 | 183.09
490 | 183.2
500 | 184.4
510 | 176.28
520 | 177.58
530 | 179.09
540 | 178.47
550 | 179.06
560 | 179.62
570 | 180.3
580 | 180.77
590 | 181.4
600 | 181.9
610 | 182.5
620 | 182.94
630 | 183.48
640 | 184.1
650 | 184.7
660 | 185.2
670 | 185.6
680 | 186.1
690 | 186.7
700 | 187.1
710 | 187.6
720 | 188
730 | 188.5
740 | 188.9
750 | 189.4
760 | 189.8
770 | 190.3
780 | 190.7
790 | 191.1
800 | 191.5
810 | 191.9
820 | 192.2
830 | 192.6
840 | 192.9
850 | 193.3
860 | 193.7
870 | 194.1
880 | 194.5
890 | 194.9
900 | 195.2
910 | 195.6
920 | 195.9
930 | 196.3
940 | 196.6
950 | 197
960 | 197.4
970 | 197.7
980 | 198
990 | 198.3
1000 | 198.7
%RAWDATA
#CV
50 | 2186.34
60 | 1985.4
70 | 1831.35
80 | 1709.04
90 | 1608.9
100 | 1526.46
110 | 1462.3
120 | 1418.36
130 | 1397.58
140 | 1390.04
150 | 1386.66
160 | 1384.77
170 | 1383.58
180 | 1382.67
190 | 1381.73
200 | 1381.03
210 | 1380.42
220 | 1379.71
230 | 1379.37
240 | 1379.15
250 | 1378.66
260 | 1378.17
270 | 1377.82
280 | 1377.42
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#