## summary
SENSOR TYPE: | Stereo
SERIAL NUMBER: | S00228
FDV(HPK) | 130
FDV (Tsukuba) | 125.7686
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open

## CV
%NEWTEST
SERIAL NUMBER: | S00228
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/4/2003
PASSED | YES
%Test_Rawdata
FILENAME: | CV_S00228.dat
#CV
TEMPERATURE(C): | 27.7
DEPLETION V | 125.7686
30 | 0.12865
150 | 0.65976
100 | 0.55228
500 | 0.55581
2.0839 | 0.001868
9.2673 | 0.040108
19.9434 | 0.081592
28.8338 | 0.12463
38.5736 | 0.16796
48.333 | 0.21101
58.1502 | 0.25401
67.923 | 0.29519
77.7076 | 0.33916
87.5085 | 0.38207
97.2928 | 0.42378
107.0533 | 0.46444
116.8148 | 0.49825
127.1255 | 0.52023
136.3794 | 0.53117
146.1227 | 0.53525
155.9167 | 0.53725
165.7104 | 0.5395
175.4982 | 0.54054
185.2559 | 0.54243
195.0582 | 0.54294
204.8454 | 0.54351
214.665 | 0.54465
224.3777 | 0.54606
234.1921 | 0.54615
243.956 | 0.54786
253.7221 | 0.54822
263.4911 | 0.54847
273.2961 | 0.54988
283.0661 | 0.55024
292.8264 | 0.55082
302.6084 | 0.55166
312.3759 | 0.55219
322.1866 | 0.55278
331.9496 | 0.55371
341.7676 | 0.5539
351.5583 | 0.55451
361.3418 | 0.55517
371.1502 | 0.5556
380.9479 | 0.55599
390.6782 | 0.55621
400.5093 | 0.55722
410.3143 | 0.55743
420.1201 | 0.55852
429.8843 | 0.55842
439.6664 | 0.55843
449.5095 | 0.55923
459.3018 | 0.55928
469.0718 | 0.55957
478.9147 | 0.55976
488.7571 | 0.56021
496.9093 | 0.56034
506.6855 | 0.5606
516.4959 | 0.56083
526.0969 | 0.5607
535.9515 | 0.56101
545.8012 | 0.56066
555.6497 | 0.56085
565.4066 | 0.56077
575.1689 | 0.56112
584.9734 | 0.56063
594.7911 | 0.56075
604.5528 | 0.56052
614.3642 | 0.56077
624.1629 | 0.56079
633.9179 | 0.56027
643.6991 | 0.56045
653.4901 | 0.56022
663.2804 | 0.56013
673.0704 | 0.56019
682.8643 | 0.55973
692.6677 | 0.55966
702.4308 | 0.55934
712.1852 | 0.55854
722.0241 | 0.55874
731.8323 | 0.55902
741.5997 | 0.558
751.3875 | 0.55807
761.1867 | 0.55742
770.9605 | 0.55765
780.7432 | 0.55792
790.5635 | 0.55747
800.365 | 0.55702
810.1379 | 0.55701
819.9185 | 0.55667
829.7045 | 0.55547
839.5604 | 0.55827
849.3407 | 0.55468
859.1566 | 0.55592
868.8836 | 0.55644
878.766 | 0.55441
888.5106 | 0.55585
898.3207 | 0.55839
908.1652 | 0.55347
917.8969 | 0.55498
927.7268 | 0.55376
937.5625 | 0.5543
947.3641 | 0.55462
957.1285 | 0.5539
967.0029 | 0.5626
976.8561 | 0.5618

## IV
%NEWTEST
SERIAL NUMBER: | S00228
TEST MADE BY: | Tsukuba
LOCATION NAME: | Tsukuba
TEST DATE: | Sep/4/2003
PASSED | YES
%Test_Rawdata
FILENAME: | IV_S00228.dat
#IV
TEMPERATURE(C): | 27.7
2.0839 | 24.4
9.2673 | 129.45
19.9434 | 140.65
28.8338 | 142.3
38.5736 | 144.4
48.333 | 146.65
58.1502 | 144.55
67.923 | 150.15
77.7076 | 152.6
87.5085 | 154.55
97.2928 | 153.95
107.0533 | 153.9
116.8148 | 159.65
127.1255 | 160.9
136.3794 | 159.4
146.1227 | 159.9
155.9167 | 161.35
165.7104 | 162.85
175.4982 | 164.35
185.2559 | 165.8
195.0582 | 167.2
204.8454 | 168.6
214.665 | 169.95
224.3777 | 171.2
234.1921 | 172.4
243.956 | 173.65
253.7221 | 174.8
263.4911 | 175.9
273.2961 | 177.1
283.0661 | 178.2
292.8264 | 179.2
302.6084 | 180.3
312.3759 | 181.3
322.1866 | 182.4
331.9496 | 183.35
341.7676 | 184.2
351.5583 | 185.2
361.3418 | 186.1
371.1502 | 187
380.9479 | 187.9
390.6782 | 188.9
400.5093 | 189.7
410.3143 | 190.5
420.1201 | 191.3
429.8843 | 192.3
439.6664 | 193.05
449.5095 | 193.8
459.3018 | 194.5
469.0718 | 195.4
478.9147 | 195.85
488.7571 | 196.7
496.9093 | 197.35
506.6855 | 198.2
516.4959 | 199.1
526.0969 | 199.85
535.9515 | 200.55
545.8012 | 201.35
555.6497 | 202.05
565.4066 | 202.8
575.1689 | 203.55
584.9734 | 204.2
594.7911 | 204.9
604.5528 | 205.55
614.3642 | 206.25
624.1629 | 206.85
633.9179 | 207.55
643.6991 | 208.25
653.4901 | 208.75
663.2804 | 209.35
673.0704 | 210.05
682.8643 | 210.2
692.6677 | 210.75
702.4308 | 211.45
712.1852 | 212.15
722.0241 | 212.7
731.8323 | 213.25
741.5997 | 213.85
751.3875 | 214.35
761.1867 | 214.95
770.9605 | 215.75
780.7432 | 224.2
790.5635 | 250.05
800.365 | 302.5
810.1379 | 439.85
819.9185 | 629.2
829.7045 | 847.25
839.5604 | 1078.15
849.3407 | 1351
859.1566 | 1588.4
868.8836 | 1906.4
878.766 | 2174.2
888.5106 | 2461.15
898.3207 | 2794.45
908.1652 | 3102.3
917.8969 | 3374.55
927.7268 | 3806.05
937.5625 | 4396.8
947.3641 | 5284.35
957.1285 | 7111.85
967.0029 | 9126.4
976.8561 | 12005.2
#
#
#
#
#
#
#
#
#

## HPK
%ITEM
SERIAL NUMBER | S00228
%TEST
TEST DATE | 2003-01-01
PROBLEM | NO
PASSED | YES
%DATA
TEMPERATURE(C) | 25
I_LEAK500V(microA) | 0.17246
I_LEAK700V(microA) | 0.2416
Vdep(V) | 130
%DEFECT
Implant-Break
Implant-open
Implant-short
Resistor-Break
Oxide-Punchthrough
Short
Open
#
#
#
#
#
#
#
#
%RAWDATA
#IV
0 | 5.025
10 | 76.83
20 | 95.45
30 | 105.27
40 | 112.43
50 | 117.67
60 | 121.89
70 | 125.39
80 | 128.39
90 | 130.98
100 | 133.21
110 | 135.21
120 | 136.98
130 | 138.66
140 | 140.2
150 | 141.67
160 | 143.05
170 | 144.42
180 | 145.7
190 | 146.94
200 | 148.12
210 | 149.28
220 | 150.38
230 | 151.45
240 | 152.49
250 | 153.49
260 | 154.49
270 | 155.45
280 | 156.36
290 | 157.28
300 | 158.18
310 | 159.03
320 | 159.86
330 | 160.67
340 | 161.49
350 | 162.25
360 | 163
370 | 163.74
380 | 164.88
390 | 166.46
400 | 169.83
410 | 174.24
420 | 175.21
430 | 168.42
440 | 168.64
450 | 170.46
460 | 170.1
470 | 170.71
480 | 171.31
490 | 171.89
500 | 172.46
510 | 173.05
520 | 173.6
530 | 174.16
540 | 174.69
550 | 175.23
560 | 175.79
570 | 176.31
580 | 176.84
590 | 177.35
600 | 177.92
610 | 178.45
620 | 179.01
630 | 179.65
640 | 180.5
650 | 181.76
660 | 184.1
670 | 188.7
680 | 196.4
690 | 214.2
700 | 241.6
710 | 291.3
720 | 359.8
730 | 451.7
740 | 554.2
750 | 698.4
760 | 852.8
770 | 1018.5
780 | 1214.1
790 | 1452
800 | 1671.3
810 | 1868
820 | 2122
830 | 2394
840 | 2634
850 | 2892
860 | 3172
870 | 3386
880 | 3712
890 | 4310
900 | 5102
910 | 6355
920 | 7867
930 | 10064
940 | 13176
950 | 15482
960 | 17124
970 | 18566
980 | 19930
990 | 21250
1000 | 10000
%RAWDATA
#CV
50 | 2218.01
60 | 2013.72
70 | 1857.41
80 | 1732.84
90 | 1630.74
100 | 1546.33
110 | 1479.13
120 | 1429.41
130 | 1402.02
140 | 1391.16
150 | 1387.08
160 | 1385.11
170 | 1383.56
180 | 1382.37
190 | 1381.67
200 | 1380.94
210 | 1380.22
220 | 1379.68
230 | 1379.35
240 | 1378.78
250 | 1378.35
260 | 1378.02
270 | 1377.63
280 | 1377.24
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#
#